## Consolidated
Source | Code | Code | Code | Code | Code | Code | Code | Category | Category | Category | Category | Category | Description | Unit | Availability | Availability | Calculation | Calculation | Vendor Summary | Vendor Summary | Vendor Summary | Vendor Summary | Vendor Summary | Var % | ALBA | ALBA | ALBA | ALBA Rev 1 | ALBA Rev 1 | ALBA Rev 1 | 1SS | 1SS | 1SS | 1SS Rev 1 | 1SS Rev 1 | 1SS Rev 1 | JAG | JAG | JAG | Gewarzoe | Gewarzoe | Gewarzoe | TPS | TPS | TPS | NIX | NIX | NIX | Proplus | Proplus | Proplus | Procurement | Procurement | Procurement | ARK | ARK | ARK | BIM | BIM | BIM | BIM Rev 1 | BIM Rev 1 | BIM Rev 1 | ASIA Procurement | ASIA Procurement | ASIA Procurement
Sheet | Combined | Combined 2 | Lv1 | Lv2 | Lv3 | Lv4 | Lv5 | Cat Lv1 | Cat Lv2 | Cat Lv3 | Cat Lv4 | Cat Lv5 | Detailed Description | Unit | Included | Quantity | Adjustment | Estimation | Selected Vendor | Primary Unit Price | Primary Qty | Total Unit Price | Total Amount | Var % | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note | Primary Unit Price | Total Amount | Vendor's Note
Fee and Fitout | 1010101-000 | 10101 | 1 | 01 | 01 | 01 | 000 | CAPEX¦ Construction | Preconstruction | Service fee | Management |  |  | Lot | Included | 1 |  | 0 | 1SS Rev 1 | 2000000 | 1 | 2000000 | 2000000 |  | 0 | 0 |  | 0 | 0 |  | 2500000 | 2500000 |  | 2000000 | 2000000 |  | 0 | 0 |  |  |  |  | 0 | 0
Fee and Fitout | 1029901-000 | 10299 | 1 | 02 | 99 | 01 | 000 | CAPEX¦ Construction | Fitout | Service fee | Management |  | Management and supervision fees (safety fees if needed) | Lot | Included | 1 | 2328189.138 | 2328189.138 | 1SS Rev 1 | 3300000 | 1 | 3300000 | 3300000 | 41.74% | 0 | 0 |  | 0 | 0 |  | 3450000 | 3450000 |  | 3300000 | 3300000 |  | 2400000 | 2400000 |  |  |  |  | 3500000 | 3500000
Fee and Fitout | 1029903-000 | 10299 | 1 | 02 | 99 | 03 | 000 | CAPEX¦ Construction | Fitout | Service fee | Construction license |  | YCDC permit and service fees | Lot | Included | 1 | 2328189.138 | 2328189.138 | 1SS Rev 1 | 2200000 | 1 | 2200000 | 2200000 | -5.506% | 0 | 0 |  | 0 | 0 |  | 2300000 | 2300000 |  | 2200000 | 2200000 |  | 0 | 0 | not included |  |  |  | 4000000 | 4000000
Fee and Fitout | 1029904-000 | 10299 | 1 | 02 | 99 | 04 | 000 | CAPEX¦ Construction | Fitout | Service fee | Site cleaning |  | Deep cleaning work after construction | Lot | Included | 1 | 1552126.092 | 1552126.092 | 1SS Rev 1 | 550000 | 1 | 550000 | 550000 | -64.56% | 3603000 | 3603000 |  | 3062500 | 3062500 |  | 575000 | 575000 |  | 550000 | 550000 |  | 740000 | 740000 |  |  |  |  | 1200000 | 1200000
Fee and Fitout | 1029905-000 | 10299 | 1 | 02 | 99 | 05 | 000 | CAPEX¦ Construction | Fitout | Service fee | Transportation fees & scaffoding/ladder |  | Transportation fees for material delivery, scaffolding ,construction waste disposal etc. | Lot | Included | 1 | 1552126.092 | 1552126.092 | 1SS Rev 1 | 2700000 | 1 | 2700000 | 2700000 | 73.95% | 2400000 | 2400000 |  | 2000000 | 2000000 |  | 3450000 | 3450000 |  | 2700000 | 2700000 |  | 360000 | 360000 |  |  |  |  | 2700000 | 2700000 | Included hoarding work with partition frame and only vinyl shhet.
Fee and Fitout | 10299-000 | 10299 | 1 | 02 | 99 |  | 000 | CAPEX¦ Construction | Fitout | Service fee | Demolishing fees |  | Demolishing fees for wall/Doors/ Glass partition as demolishing plan | Lot | Included | 1 | 1552126.092 | 1552126.092 | 1SS Rev 1 | 4900000 | 1 | 4900000 | 4900000 | 215.7% | 7353000 | 7353000 |  | 6250000 | 6250000 |  | 6465944 | 6465944 |  | 4900000 | 4900000 |  | 3500000 | 3500000 |  |  |  |  | 4500000 | 4500000
Fee and Fitout | 1020199-002 | 10201 | 1 | 02 | 01 | 99 | 002 | CAPEX¦ Construction | Fitout | Floor | Renovation | Floor screeding | Floor screeding to required thk at existing toilet areas | m2 | Included | 11.4 | 17250 | 196650 | 1SS Rev 1 | 41426 | 11.4 | 41426 | 472256.4 | 140.2% | 55500 | 632700 |  | 47200 | 538080 |  | 43309 | 493722.6 |  | 41426 | 472256.4 |  | 46483 | 529906.2 |  |  |  |  | 95000 | 1083000
Fee and Fitout | 1020101-000 | 10201 | 1 | 02 | 01 | 01 | 000 | CAPEX¦ Construction | Fitout | Floor | Carpet |  | Supply & installation of Carpet Tiles @ Classrooms Size ; 500 x 500mm Color ; Dark Grey | m2 | Included | 77.7 | 121260 | 9421902 | 1SS Rev 1 | 132000 | 77.7 | 132000 | 10256400 | 8.857% | 248400 | 19300680 |  | 248400 | 19300680 |  | 121260 | 9421902 |  | 132000 | 10256400 |  | 148547 | 11542101.9 |  |  |  |  | 240000 | 18648000
Fee and Fitout | 1020103-200 | 10201 | 1 | 02 | 01 | 03 | 200 | CAPEX¦ Construction | Fitout | Floor | Panel | Tile | Supply & installation of Tile Flooring @ Toilet Size : 600 x 600mm | m2 | Included | 4.7 | 130056 | 611263.2 | 1SS Rev 1 | 136400 | 4.7 | 136400 | 641080 | 4.878% | 166300 | 781610 |  | 141300 | 664110 |  | 142600 | 670220 |  | 136400 | 641080 |  | 142088 | 667813.6 |  |  |  |  | 150000 | 705000
Fee and Fitout | 1020103-200 | 10201 | 1 | 02 | 01 | 03 | 200 | CAPEX¦ Construction | Fitout | Floor | Panel | Tile | Supply & installation of Marble Tiles @ Corridor, Waiting Area & Sale Rooms Size ; 600 x 600 mm Color ; Dark Grey | m2 | Included | 74.9 | 130056 | 9741194.4 | 1SS Rev 1 | 136400 | 74.9 | 136400 | 10216360 | 4.878% | 0 | 0 |  | 141300 | 10583370 |  | 142600 | 10680740 |  | 136400 | 10216360 |  | 142088 | 10642391.2 |  |  |  |  | 150000 | 11235000
Fee and Fitout | 1020104-004 | 10201 | 1 | 02 | 01 | 04 | 004 | CAPEX¦ Construction | Fitout | Floor | Skirting | PVC | Supply & installation of 100 MM PVC GREY SKIRTING | m | Included | 125.3 | 14950 | 1873235 | 1SS Rev 1 | 14300 | 125.3 | 14300 | 1791790 | -4.348% | 21800 | 2731540 |  | 18600 | 2330580 |  | 14950 | 1873235 |  | 14300 | 1791790 |  | 14400 | 1804320 |  |  |  |  | 15000 | 1879500
Fee and Fitout | 1020105-000 | 10201 | 1 | 02 | 01 | 05 | 000 | CAPEX¦ Construction | Fitout | Floor | Stripline |  | Supply & installation of Aluminium Transition strip to Door areas | m | Included | 3.6 | 19550 | 70380 | 1SS Rev 1 | 33000 | 3.6 | 33000 | 118800 | 68.8% | 22100 | 79560 |  | 18700 | 67320 |  | 34500 | 124200 |  | 33000 | 118800 |  | 17000 | 61200 |  |  |  |  | 50000 | 180000
Fee and Fitout | 10201- | 10201 | 1 | 02 | 01 |  |  | CAPEX¦ Construction | Fitout | Floor | Raised | Concrete | Supply and installation of concrete raised floor, 150 mm above existing floor level |  | Included | 20 | 150000 | 3000000 | 1SS Rev 1 | 247500 | 20 | 247500 | 4950000 | 65% | 311600 | 6232000 |  | 265000 | 5300000 |  | 258750 | 5175000 | 4" thk Sand Filling and 2" thk 1:2:4 Concrete Topping | 247500 | 4950000 | 4" thk Sand Filling and 2" thk 1:2:4 Concrete Topping | 76044 | 1520880 |  |  |  |  | 105000 | 2100000
Fee and Fitout | 1020201-001 | 10202 | 1 | 02 | 02 | 01 | 001 | CAPEX¦ Construction | Fitout | Partition | Drywall one-side | Regular | Supply & installation of 90mm thk;12 mm single layer gypsum board (one side) partition 75 mm metal stud & accessories | m2 | Included | 5.6 | 69000 | 386400 | 1SS Rev 1 | 66000 | 5.6 | 66000 | 369600 | -4.348% | 106100 | 594160 |  | 90200 | 505120 |  | 69000 | 386400 |  | 66000 | 369600 |  | 102820 | 575792 |  |  |  |  | 102000 | 571200
Fee and Fitout | 1020202-002 | 10202 | 1 | 02 | 02 | 02 | 002 | CAPEX¦ Construction | Fitout | Partition | Drywall two-side | Soundproof | Supply & installation of 125mm thk;12 mm double layer gypsum board (both sided) partition and 75 mm metal stud & accessories | m2 | Included | 42.4 | 140000 | 5936000 | 1SS Rev 1 | 145882 | 42.4 | 145882 | 6185396.8 | 4.201% | 182100 | 7721040 |  | 154700 | 6559280 |  | 152513 | 6466551.2 |  | 145882 | 6185396.8 |  | 134854 | 5717809.6 |  |  |  |  | 195000 | 8268000
Fee and Fitout | 1020203-201 | 10202 | 1 | 02 | 02 | 03 | 201 | CAPEX¦ Construction | Fitout | Partition | Glass | Tempered 8mm - without frame | Supply & installation of 8mm tempered glass partition without frame include require accessories @ Classrooms | m2 | Included | 11.52 | 430000 | 4953600 | 1SS Rev 1 | 497112 | 11.52 | 497112 | 5726730.24 | 15.61% | 617300 | 7111296 |  | 524600 | 6043392 |  | 519708 | 5987036.16 |  | 497112 | 5726730.24 |  | 751066 | 8652280.32 | with 1" U channel frame |  |  |  | 430000 | 4953600
Fee and Fitout | 1020203-202 | 10202 | 1 | 02 | 02 | 03 | 202 | CAPEX¦ Construction | Fitout | Partition | Glass | Tempered 10mm - without frame | Supply & installation of 10mm tempered glass partition without frame include require accessories @ Sale Rooms | m2 | Included | 12.61 | 450000 | 5674500 | 1SS Rev 1 | 617628 | 12.61 | 617628 | 7788289.08 | 37.25% | 633100 | 7983391 |  | 538100 | 6785441 |  | 645702 | 8142302.22 |  | 617628 | 7788289.08 |  | 787066 | 9924902.26 | with 1" U channel frame |  |  |  | 460000 | 5800600
Fee and Fitout | 1020204-000 | 10202 | 1 | 02 | 02 | 04 | 000 | CAPEX¦ Construction | Fitout | Partition | Brick |  | Supply and installation of single brick wall with plaster both sides @ Toilet | m2 | Included | 15.54 | 80500 | 1250970 | 1SS Rev 1 | 121000 | 15.54 | 121000 | 1880340 | 50.31% | 80800 | 1255632 |  | 68700 | 1067598 |  | 126500 | 1965810 |  | 121000 | 1880340 |  | 162044 | 2518163.76 |  |  |  |  | 130000 | 2020200
Fee and Fitout | 10202- | 10202 | 1 | 02 | 02 |  |  | CAPEX¦ Construction | Fitout | Partition | Drywall both-side | Cement board | Supply & installation of Water Proof Partition Wall @ Verenda |  | Included | 7 | 69000 | 483000 | 1SS Rev 1 | 188571.4286 | 7 | 188571.4286 | 1320000 | 173.3% | 0 | 0 |  | 67300 | 471100 |  | 197142.8571 | 1380000 | Outside with composite finishing / Inside with shera board | 188571.4286 | 1320000 | Outside with composite finishing / Inside with shera board | 134854 | 943978 | cement board 8mm both side with 75mm metal stud |  |  |  | 107000 | 749000
Fee and Fitout | 1020301-000 | 10203 | 1 | 02 | 03 | 01 | 000 | CAPEX¦ Construction | Fitout | Ceiling | Access panel |  | Supply & installation of access panels | set | Included | 1 | 95000 | 95000 | 1SS Rev 1 | 110000 | 1 | 110000 | 110000 | 15.79% | 130000 | 130000 |  | 130000 | 130000 |  | 115000 | 115000 |  | 110000 | 110000 |  | 144000 | 144000 |  |  |  |  | 1400000 | 1400000 | Access Panel 600mm x 600mm x 10 Nos
Fee and Fitout | 1020303-101 | 10203 | 1 | 02 | 03 | 03 | 101 | CAPEX¦ Construction | Fitout | Ceiling | Regular | Gypsum 9mm | Supply & installation of 9mm thk; gypsum board ceiling -include manholes & lighting holes | m2 | Included | 158.1 | 62100 | 9818010 | 1SS Rev 1 | 60236 | 158.1 | 60236 | 9523311.6 | -3.002% | 72900 | 11525490 |  | 61900 | 9786390 |  | 62974 | 9956189.4 | Frame to frame type with 1 1/2" C-channel Frame | 60236 | 9523311.6 | Frame to frame type with 1 1/2" C-channel Frame | 75936 | 12005481.6 |  |  |  |  | 65000 | 10276500
Fee and Fitout | 1020404-000 | 10204 | 1 | 02 | 04 | 04 | 000 | CAPEX¦ Construction | Fitout | Door | Sliding manual |  | Supply & installation of Glass Slide Door with necessary accessories Door Size : 900 x 2100 mm | set | Included | 1 | 2070000 | 2070000 | 1SS Rev 1 | 1760000 | 1 | 1760000 | 1760000 | -14.98% | 1420600 | 1420600 |  | 1470000 | 1470000 |  | 1840000 | 1840000 |  | 1760000 | 1760000 |  | 1740000 | 1740000 |  |  |  |  | 1200000 | 1200000
Fee and Fitout | 1020405-201 | 10204 | 1 | 02 | 04 | 05 | 201 | CAPEX¦ Construction | Fitout | Door | Swing single | Tempered glass 10mm | Supply & installation of 10mm thk; Tempered frameless glass swing door Door size : 900 x 2100mm - include require hardware, stopper , door handle, door track & lock | set | Included | 2 | 1300000 | 2600000 | 1SS Rev 1 | 1760000 | 2 | 1760000 | 3520000 | 35.38% | 1451600 | 2903200 |  | 1443800 | 2887600 |  | 1840000 | 3680000 |  | 1760000 | 3520000 |  | 1620000 | 3240000 |  |  |  |  | 1100000 | 2200000 | Supply & installation of 10mm thk; Tempered frameless glass swing door , Door size : 900 x 2100mm - include door handle, door hinge, hydrauic choke , lock Brand - Hafele / Equivalent/avilable in market brand
Fee and Fitout | 1020405-601 | 10204 | 1 | 02 | 04 | 05 | 601 | CAPEX¦ Construction | Fitout | Door | Swing single | Laminated | Supply & Installation of single leaf hollow core door with plywood board carcass (white laminate finish) and 50 mm thk; timber frame -Requries door lock and accessories Door Size : 900 x 2100 mm Door Type: 90' Swing | set | Included | 1 | 1600000 | 1600000 | 1SS Rev 1 | 1650000 | 1 | 1650000 | 1650000 | 3.125% | 2316300 | 2316300 |  | 1968800 | 1968800 |  | 1725000 | 1725000 |  | 1650000 | 1650000 |  | 2160000 | 2160000 |  |  |  |  | 1300000 | 1300000 | Supply & Installation of single leaf hollow core door with plywood board carcass (white laminate finish) and 50 mm thk; frame blockboard -Requries door lock and accessories Door Size : 900 x 2100 mm Door Type: 90' Swing Brand - Hafele / Equivalent
Fee and Fitout | 1020405-701 | 10204 | 1 | 02 | 04 | 05 | 701 | CAPEX¦ Construction | Fitout | Door | Swing single | ABS | Supply & installation of ABS Door | set | Included | 2 | 1220000 | 2440000 | 1SS Rev 1 | 1298000 | 2 | 1298000 | 2596000 | 6.393% | 1470600 | 2941200 |  | 1250000 | 2500000 |  | 1357000 | 2714000 |  | 1298000 | 2596000 |  | 1146000 | 2292000 |  |  |  |  | 1050000 | 2100000
Fee and Fitout | 10204- | 10204 | 1 | 02 | 04 |  |  | CAPEX¦ Construction | Fitout | Door | Swing Single | Reused | Reinstalling of existing glass door to Store room with necessary accessories |  | Included | 1 | 400000 | 400000 | 1SS Rev 1 | 660000 | 1 | 660000 | 660000 | 65% | 0 | 0 |  | 210000 | 210000 |  | 690000 | 690000 |  | 660000 | 660000 |  | 300000 | 300000 |  |  |  |  | 550000 | 550000 | If the existing accessories are able to use, material charge will be deducted.
Fee and Fitout | 10204- | 10204 | 1 | 02 | 04 |  |  | CAPEX¦ Construction | Fitout | Door | Swing Single | Reused | Reinstallation of existing wooden door with color spray paint, including all necessary accessories. |  | Included | 3 | 500000 | 1500000 | 1SS Rev 1 | 880000 | 3 | 880000 | 2640000 | 76% | 0 | 0 |  | 630000 | 1890000 |  | 920000 | 2760000 |  | 880000 | 2640000 |  | 1080000 | 3240000 | not included door closer |  |  |  | 700000 | 2100000
Fee and Fitout | 1020501-001 | 10205 | 1 | 02 | 05 | 01 | 001 | CAPEX¦ Construction | Fitout | Paint | Indoor |  | Supply and apply of interior paint as per drawing PT-01's walls -plaster+one base coat+minimum two finish coat | m2 | Included | 371 | 27000 | 10017000 | 1SS Rev 1 | 30800 | 371 | 30800 | 11426800 | 14.07% | 49100 | 18216100 |  | 41800 | 15507800 |  | 32200 | 11946200 | Jotun Tough Series or Equivalent | 30800 | 11426800 | Jotun Tough Series or Equivalent | 47792 | 17730832 |  |  |  |  | 32300 | 11983300
Fee and Fitout | 1020501-002 | 10205 | 1 | 02 | 05 | 01 | 002 | CAPEX¦ Construction | Fitout | Paint | Indoor | Ceiling | Supply and apply of ceiling white paint @ all ceiling work | m2 | Included | 157.6 | 22000 | 3467200 | 1SS Rev 1 | 24035 | 157.6 | 24035 | 3787916 | 9.25% | 49100 | 7738160 |  | 41800 | 6587680 |  | 25128 | 3960172.8 | Nippon Max White or Equivalent | 24035 | 3787916 | Nippon Max White or Equivalent | 47792 | 7532019.2 |  |  |  |  | 31500 | 4964400
MEP | 1039901-000 | 10399 | 1 | 03 | 99 | 01 | 000 | CAPEX¦ Construction | MEP | Service fee | Management |  | Management, Supervision, Safety and Night Shift work | Lot | Included | 1 | 1000000 | 1000000 | 1SS | 700000 | 1 | 700000 | 700000 | -30% | 3000000 | 3000000 |  | 3000000 | 3000000 |  | 700000 | 700000 |  |  |  |  | 13700000 | 13700000 |  | 5000000 | 5000000
MEP | 1039905-000 | 10399 | 1 | 03 | 99 | 05 | 000 | CAPEX¦ Construction | MEP | Service fee | Transportation fees & scaffoding/ladder |  | Transportation Fee | Lot | Included | 1 | 734494 | 734494 | 1SS | 200000 | 1 | 200000 | 200000 | -72.77% | 500000 | 500000 |  | 500000 | 500000 |  | 200000 | 200000 |  |  |  |  | 2000000 | 2000000 |  | 500000 | 500000
MEP | 1030101-101 | 10301 | 1 | 03 | 01 | 01 | 101 | CAPEX¦ Construction | MEP | Electricity | Cable (Unit) | Lighting system | Supply & Install of 3 x 1C x 1.5 sqmm Cu/PVC Cable For Lighting System | m | Included | 1061.25 | 2200 | 2334750 | 1SS | 2200 | 1061.25 | 2200 | 2334750 | 0% | 4320 | 7776000 |  | 4320 | 7776000 |  | 2200 | 2334750 | BCC/RR/EQUIV. ( OFFER WITH 1.5MMSQ ) |  |  |  | 3150 | 3342937.5 | RR Brand | 3300 | 3502125 | RR/ India or Equivalent
MEP | 1030101-201 | 10301 | 1 | 03 | 01 | 01 | 201 | CAPEX¦ Construction | MEP | Electricity | Cable (Unit) | AC and Sockets | Supply & Install of 3 x 1C x 2.5 sqmm Cu/PVC Cable For Power System | m | Included | 1237.5 | 3500 | 4331250 | 1SS | 3500 | 1237.5 | 3500 | 4331250 | 0% | 4320 | 6480000 |  | 4320 | 6480000 |  | 3500 | 4331250 | BCC/RR/EQUIV. |  |  |  | 3150 | 3898125 | RR Brand | 3300 | 4083750 | RR/ India or Equivalent
MEP | 1030101-201 | 10301 | 1 | 03 | 01 | 01 | 201 | CAPEX¦ Construction | MEP | Electricity | Cable (Unit) | AC and Sockets | Supply & Install of 3 x 1C x 2.5 sqmm Cu/PVC Cable For AC System | m | Included | 746.25 | 3500 | 2611875 | 1SS | 3500 | 746.25 | 3500 | 2611875 | 0% | 4320 | 5184000 |  | 4320 | 5184000 |  | 3500 | 2611875 | BCC/RR/EQUIV. |  |  |  | 3150 | 2350687.5 | RR Brand | 3300 | 2462625 | RR/ India or Equivalent
MEP | 1030102-000 | 10301 | 1 | 03 | 01 | 02 | 000 | CAPEX¦ Construction | MEP | Electricity | Circuit breaker |  | Supply & Install of 1P x 16 A MCB Breaker For Lighting System | pcs | Included | 9 | 18800 | 169200 | 1SS | 25500 | 9 | 25500 | 229500 | 35.64% | 35000 | 315000 |  | 35000 | 315000 |  | 25500 | 229500 | Schneider/Legrand |  |  |  | 24000 | 216000 | LS Brand or Equivalent | 34300 | 308700 | Schneider/ China
MEP | 1030102-000 | 10301 | 1 | 03 | 01 | 02 | 000 | CAPEX¦ Construction | MEP | Electricity | Circuit breaker |  | Supply & Install of 1P x 20 A MCB Breaker For General Power & AC System | pcs | Included | 18 | 18800 | 338400 | 1SS | 25500 | 18 | 25500 | 459000 | 35.64% | 35000 | 630000 |  | 35000 | 630000 |  | 25500 | 459000 | Schneider/Legrand |  |  |  | 24000 | 432000 | LS Brand or Equivalent | 34300 | 617400 | Schneider/ China
MEP | 1030102-000 | 10301 | 1 | 03 | 01 | 02 | 000 | CAPEX¦ Construction | MEP | Electricity | Circuit breaker |  | Supply & Install of 4P x 32 A MCB Breaker For Lighting & General Power | pcs | Included | 3 | 132600 | 397800 | 1SS | 177000 | 3 | 177000 | 531000 | 33.48% | 238000 | 714000 |  | 238000 | 714000 |  | 177000 | 531000 | Schneider/Legrand |  |  |  | 95000 | 285000 | LS Brand or Equivalent | 238000 | 714000 | Schneider/ China
MEP | 1030102-000 | 10301 | 1 | 03 | 01 | 02 | 000 | CAPEX¦ Construction | MEP | Electricity | Circuit breaker |  | Supply & Install of 4P x 40 A, ELCB Breaker For Electrical System | pcs | Included | 4 | 253000 | 1012000 | 1SS | 343000 | 4 | 343000 | 1372000 | 35.57% | 500000 | 2000000 |  | 500000 | 2000000 |  | 343000 | 1372000 | Schneider/Legrand |  |  |  | 250000 | 1000000 | (4P x 40 A, RCCB Breaker) LS Brand or Equivalent | 461300 | 1845200 | Schneider/ China
MEP | 1030102-000 | 10301 | 1 | 03 | 01 | 02 | 000 | CAPEX¦ Construction | MEP | Electricity | Circuit breaker |  | Supply & Install of 4P x 40 A MCB Breaker For Electrical System | pcs | Included | 1 | 132600 | 132600 | 1SS | 177000 | 1 | 177000 | 177000 | 33.48% | 288000 | 288000 |  | 288000 | 288000 |  | 177000 | 177000 | Schneider/Legrand |  |  |  | 130000 | 130000 | LS Brand or Equivalent | 238000 | 238000 | Schneider/ China
MEP | 1030102-000 | 10301 | 1 | 03 | 01 | 02 | 000 | CAPEX¦ Construction | MEP | Electricity | Circuit breaker |  | Supply & Install of 4P x 80 A MCCB Breaker For Electrical System | pcs | Included | 1 | 379000 | 379000 | 1SS | 560000 | 1 | 560000 | 560000 | 47.76% | 1444800 | 1444800 |  | 1444800 | 1444800 |  | 560000 | 560000 | Schneider/Legrand |  |  |  | 380000 | 380000 | LS Brand or Equivalent | 755000 | 755000 | Schneider/ China
MEP | 1030102-000 | 10301 | 1 | 03 | 01 | 02 | 000 | CAPEX¦ Construction | MEP | Electricity | Circuit breaker |  | Supply & Install of 40 A Distribution Block | pcs | Included | 4 | 60000 | 240000 | 1SS | 60000 | 4 | 60000 | 240000 | 0% | 400000 | 1600000 |  | 400000 | 1600000 |  | 60000 | 240000 |  |  |  |  | 31000 | 124000 | China Brand | 400000 | 1600000
MEP | 1030102-000 | 10301 | 1 | 03 | 01 | 02 | 000 | CAPEX¦ Construction | MEP | Electricity | Circuit breaker |  | Supply & Install of 80 A Distribution Block | pcs | Included | 5 | 60000 | 300000 | 1SS | 60000 | 5 | 60000 | 300000 | 0% | 700000 | 3500000 |  | 700000 | 3500000 |  | 60000 | 300000 |  |  |  |  | 43000 | 215000 | China Brand | 400000 | 2000000
MEP | 1030103-000 | 10301 | 1 | 03 | 01 | 03 | 000 | CAPEX¦ Construction | MEP | Electricity | Conduit |  | Supply & Install of 75X50 PVC Trunking For AC Pipe Line ( 2.4 meter / 1 pcs) | m | Included | 57.6 | 10416.67 | 600000.192 | 1SS | 20000 | 23.28 | 20000 | 465600 | -22.4% | 32000 | 2337540 |  | 32000 | 2337540 |  | 20000 | 465600 | Sogo |  |  |  | 33500 | 1929600 |  | 270000 | 15552000 | Sogo/ Local
MEP | 1030103-000 | 10301 | 1 | 03 | 01 | 03 | 000 | CAPEX¦ Construction | MEP | Electricity | Conduit |  | Supply & Install of Dia 25 PVC Conduit Pipe For Electrical system ( 1 unit = 2.9 meter) | m | Included | 786 | 3448.28 | 2710348.08 | 1SS | 10000 | 270.67 | 10000 | 2706700 | -0.1346% | 9800 | 4099242 |  | 9800 | 4099242 |  | 10000 | 2706700 | RR/Wiremen |  |  |  | 1174000 | 318154000 | RR Brand | 1000000 | 271000000 | Wireman Smart/ Malaysia
MEP | 1030103-000 | 10301 | 1 | 03 | 01 | 03 | 000 | CAPEX¦ Construction | MEP | Electricity | Conduit |  | Supply & Install of Dia 20 Conduit Flexible Pipe For Electrical system ( 30 meter / coil) | coil | Included | 2 | 25000 | 50000 | 1SS | 90000 | 2 | 90000 | 180000 | 260% | 8400 | 841680 |  | 8400 | 841680 |  | 90000 | 180000 | RR/Wiremen |  |  |  | 849000 | 1698000 | RR Brand | 50000 | 100000 | Wireman Smart/ Malaysia
MEP | 1030105-000 | 10301 | 1 | 03 | 01 | 05 | 000 | CAPEX¦ Construction | MEP | Electricity | Main distribution board |  | Supply & Install of No.5 DB Panel For Electrical System | set | Included | 1 | 530000 | 530000 | 1SS | 2300000 | 1 | 2300000 | 2300000 | 334% | 400000 | 400000 |  | 400000 | 400000 |  | 2300000 | 2300000 | Including busbar, internal wiring, indication lamp, end cap, accessories |  |  |  | 3120000 | 3120000 | Local | 400000 | 400000
MEP | 1030105-000 | 10301 | 1 | 03 | 01 | 05 | 000 | CAPEX¦ Construction | MEP | Electricity | Main distribution board |  | Supply & Install of No.1 DB Panel For Electrical System | set | Included | 1 | 530000 | 530000 | 1SS | 700000 | 2 | 700000 | 1400000 | 164.2% | 150000 | 150000 |  | 150000 | 150000 |  | 700000 | 1400000 | Including busbar, internal wiring, indication lamp, end cap, accessories |  |  |  | 260000 | 260000 | Local | 400000 | 400000
MEP | 1030106-000 | 10301 | 1 | 03 | 01 | 06 | 000 | CAPEX¦ Construction | MEP | Electricity | Socket |  | Supply & Install of 13A General S.S.O For Power System | set | Included | 48 | 20600 | 988800 | 1SS | 20600 | 48 | 20600 | 988800 | 0% | 21000 | 1008000 |  | 21000 | 1008000 |  | 20600 | 988800 | Opple/RR |  |  |  | 25100 | 1204800 | RR Brand PALMA,SERIES (PL6693) | 35300 | 1694400 | China
MEP | 1030106-000 | 10301 | 1 | 03 | 01 | 06 | 000 | CAPEX¦ Construction | MEP | Electricity | Socket |  | Supply & Install of 15A General S.S.O For AC Indoor Unit | set | Included | 7 | 20600 | 144200 | 1SS | 24400 | 7 | 24400 | 170800 | 18.45% | 30500 | 213500 |  | 30500 | 213500 |  | 24400 | 170800 | Opple/RR |  |  |  | 30100 | 210700 | RR Brand ,PALMA SERIES (PL6672) | 37000 | 259000 | China
MEP | 1030106-000 | 10301 | 1 | 03 | 01 | 06 | 000 | CAPEX¦ Construction | MEP | Electricity | Socket |  | Supply & Install of Safeguard For AC Indoor Unit | set | Included | 7 | 20600 | 144200 | 1SS | 70000 | 7 | 70000 | 490000 | 239.8% | 800000 | 5600000 |  | 800000 | 5600000 |  | 70000 | 490000 | Opple/RR |  |  |  | 75000 | 525000 | LS Brand ,AC Safeguard Breaker | 61300 | 429100
MEP | 1030108-000 | 10301 | 1 | 03 | 01 | 08 | 000 | CAPEX¦ Construction | MEP | Electricity | Switch |  | Supply & Install of 1Gang Switch For Lighting System | set | Included | 5 | 13250 | 66250 | 1SS | 13250 | 5 | 13250 | 66250 | 0% | 15500 | 77500 |  | 15500 | 77500 |  | 13250 | 66250 | Opple/RR |  |  |  | 15900 | 79500 | RR Brand , PALMA SERIES (PL6612) With Base Cup | 14800 | 74000 | China
MEP | 1030108-000 | 10301 | 1 | 03 | 01 | 08 | 000 | CAPEX¦ Construction | MEP | Electricity | Switch |  | Supply & Install of 2Gang Switch For Lighting System | set | Included | 3 | 16650 | 49950 | 1SS | 16650 | 3 | 16650 | 49950 | 0% | 21000 | 63000 |  | 21000 | 63000 |  | 16650 | 49950 | Opple/RR |  |  |  | 18100 | 54300 | RR Brand, PALMA SERIES (PL6615),With Base Cup | 17300 | 51900 | China
MEP | 1030108-000 | 10301 | 1 | 03 | 01 | 08 | 000 | CAPEX¦ Construction | MEP | Electricity | Switch |  | Supply & Install of 3Gang Switch For Lighting System | set | Included | 2 | 20250 | 40500 | 1SS | 20250 | 2 | 20250 | 40500 | 0% | 30500 | 61000 |  | 30500 | 61000 |  | 20250 | 40500 | Opple/RR |  |  |  | 25100 | 50200 | RR Brand , PALMA SERIES (PL6617),With Base Cup | 21500 | 43000 | China
MEP | 10301- | 10301 | 1 | 03 | 01 |  |  | CAPEX¦ Construction | MEP | Electricity | Support Accessories |  | Supply & Install of Support Accessories For Electricity System | lot | Included | 1 | 500000 | 500000 | 1SS | 1900000 | 1 | 1900000 | 1900000 | 280% | 750000 | 750000 |  | 750000 | 750000 |  | 1900000 | 1900000 | Including metal trunking for main cable distribution |  |  |  | 2300000 | 3200000 | With Pipe Fitting Accessories | 2200000 | 2200000
MEP | 10301- | 10301 | 1 | 03 | 01 |  |  | CAPEX¦ Construction | MEP | Electricity | T&C |  | Testing & Commissioning For Electricity Section | lot | Included | 1 | 300000 | 300000 | 1SS | 400000 | 1 | 400000 | 400000 | 33.33% | 800000 | 800000 |  | 800000 | 800000 |  | 400000 | 400000 |  |  |  |  | 500000 | 500000 |  | 300000 | 300000
MEP | 10301- | 10301 | 1 | 03 | 01 |  |  | CAPEX¦ Construction | MEP | Electricity | Cable |  | Supply & Install of 3 x 1C x 10 sqmm Cu/PVC Cable For Power system | m | Included | 38.4 | 12700 | 487680 | 1SS | 15000 | 38.4 | 30000 | 696000 | 42.72% | 14360 | 551424 |  | 14360 | 551424 |  | 15000 | 696000 | BCC/RR/EQUIV. |  |  |  | 11800 | 453120 | RR Brand | 12000 | 460800 | RR/ India or Equivalent
MEP | 10301- | 10301 | 1 | 03 | 01 |  |  | CAPEX¦ Construction | MEP | Electricity | Cable |  | Supply & Install of 3 x 1C x 16 sqmm Cu/PVC Cable For Power System | m | Included | 86.4 | 20000 | 1728000 | 1SS | 26000 | 86.4 | 52000 | 2714400 | 57.08% | 23320 | 3507328 |  | 23320 | 3507328 |  | 26000 | 2714400 | BCC/RR/EQUIV. |  |  |  | 18700 | 1615680 | RR Brand | 18500 | 1598400 | RR/ India or Equivalent
MEP | 1030202-100 | 10302 | 1 | 03 | 02 | 02 | 100 | CAPEX¦ Construction | MEP | Lighting | Recessed | Downlight | Supply & Install of 18W LED Recessed Downlight | set | Included | 32 | 50750 | 1624000 | 1SS | 47600 | 32 | 47600 | 1523200 | -6.207% | 65000 | 2340000 |  | 65000 | 2340000 |  | 47600 | 1523200 | RR/Wellmax |  |  |  | 33000 | 1056000 | RR Brand , 6500K, AC 85~265, | 69000 | 2484000 | China
MEP | 1030202-200 | 10302 | 1 | 03 | 02 | 02 | 200 | CAPEX¦ Construction | MEP | Lighting | Recessed | Rectangle | Supply & Install of 50W 600 x 600 LED Panel Light | set | Included | 12 | 140000 | 1680000 | 1SS | 140000 | 12 | 140000 | 1680000 | 0% | 185000 | 2220000 |  | 185000 | 2220000 |  | 140000 | 1680000 | RR/Wellmax |  |  |  | 123000 | 1476000 | RR Brand, 6500K 100 | 189000 | 2268000 | China
MEP | 1030202-200 | 10302 | 1 | 03 | 02 | 02 | 200 | CAPEX¦ Construction | MEP | Lighting | Recessed | Rectangle | Install of 36W 300 x 1200 LED Ceiling Light | set | Included | 2 | 140000 | 280000 | 1SS | 12000 | 2 | 12000 | 24000 | -91.43% | 20000 | 40000 |  | 20000 | 40000 |  | 12000 | 24000 |  |  |  |  | 10000 | 20000 |  | 15000 | 30000
MEP | 10302- | 10302 | 1 | 03 | 02 |  |  | CAPEX¦ Construction | MEP | Lighting | T&C |  | Testing & Commissioning For Lighting System | lot | Included | 1 | 100000 | 100000 | 1SS | 50000 | 1 | 50000 | 50000 | -50% | 500000 | 500000 |  | 500000 | 500000 |  | 50000 | 50000 |  |  |  |  | 450000 | 450000 |  | 300000 | 300000
MEP | 1030302-001 | 10303 | 1 | 03 | 03 | 02 | 001 | CAPEX¦ Construction | MEP | Air conditioner | Wall-mounted split | 1.0 HP | Supply & Install of 1Hp Wall Mounted Indoor Unit ( Split Type ) | set | Included | 2 | 1610500 | 3221000 | 1SS | 1600000 | 2 | 1600000 | 3200000 | -0.652% | 2475000 | 4950000 |  | 2475000 | 4950000 |  | 1600000 | 3200000 | MCG (Non Inverter - Made in Thailand) |  |  |  | 1888850 | 3777700 | Summit (Inverter Type) | 1851000 | 3702000 | MCG/ China
MEP | 1030302-002 | 10303 | 1 | 03 | 03 | 02 | 002 | CAPEX¦ Construction | MEP | Air conditioner | Wall-mounted split | 1.5 HP | Supply & Install of 1.5Hp Wall Mounted Indoor Unit( Split Type ) | set | Included | 5 | 1840500 | 9202500 | 1SS | 1831000 | 5 | 1831000 | 9155000 | -0.5162% | 2760000 | 13800000 |  | 2760000 | 13800000 |  | 1831000 | 9155000 | MCG (Non Inverter - Made in Thailand) |  |  |  | 2015350 | 10076750 | Summit (Inverter Type) | 2119000 | 10595000 | MCG/ China
MEP | 10303- | 10303 | 1 | 03 | 03 |  |  | CAPEX¦ Construction | MEP | Air conditioner |  |  | Supply & Install of 5/8 in & 1/4in Refrigerante Pipe For AC | m | Included | 54 | 40500 | 2187000 | 1SS | 36750 | 54 | 36750 | 1984500 | -9.259% | 44500 | 8010000 |  | 44500 | 8010000 |  | 36750 | 1984500 |  |  |  |  | 67000 | 4824000 | KMCT Brand for Copper Pipe & Ecoflex for Insulation or Equivalent(3/8 in & 1/4in Refrigerante Pipe for 1Hp & 1.5HP) | 85000 | 4590000
MEP | 10303- | 10303 | 1 | 03 | 03 |  |  | CAPEX¦ Construction | MEP | Air conditioner |  |  | Supply & Install of AC Drain Pipe with insulation | m | Included | 54 | 5460 | 294840 | 1SS | 11250 | 54 | 11250 | 607500 | 106% | 1500 | 210000 |  | 1500 | 210000 |  | 11250 | 607500 |  |  |  |  | 16000 | 864000 | Tiger Brand(CL 8.5) for Drain Pipe & Ecoflex for Insulation or Equivalent | 55000 | 2970000
MEP | 10303- | 10303 | 1 | 03 | 03 |  |  | CAPEX¦ Construction | MEP | Air conditioner |  |  | Supply & Install of Outdoor Frame | set | Included | 7 | 87750 | 614250 | 1SS | 81000 | 7 | 81000 | 567000 | -7.692% | 50000 | 350000 |  | 50000 | 350000 |  | 81000 | 567000 |  |  |  |  | 48500 | 339500 | Local | 140000 | 980000
MEP | 10303- | 10303 | 1 | 03 | 03 |  |  | CAPEX¦ Construction | MEP | Air conditioner |  |  | Supply & Install of AC Drain Pump | set | Included | 3 | 216000 | 648000 | 1SS | 109500 | 3 | 109500 | 328500 | -49.31% | 0 | 0 |  | 0 | 0 |  | 109500 | 328500 |  |  |  |  | 480000 | 1440000 | King Pump or Equivalent | 550000 | 1650000
MEP | 10303- | 10303 | 1 | 03 | 03 |  |  | CAPEX¦ Construction | MEP | Air conditioner |  |  | Supply & Install of Support Accessories For AC System | lot | Included | 1 | 650000 | 650000 | 1SS | 1516320 | 1 | 1516320 | 1516320 | 133.3% | 340000 | 340000 |  | 340000 | 340000 |  | 1516320 | 1516320 | uPVC Trunking, Signal & Power Cables |  |  |  | 500000 | 500000 |  | 1100000 | 1100000
MEP | 10303- | 10303 | 1 | 03 | 03 |  |  | CAPEX¦ Construction | MEP | Air conditioner |  |  | Testing & Commissioning For New AC System | lot | Included | 1 | 360000 | 360000 | 1SS | 120000 | 1 | 120000 | 120000 | -66.67% | 180000 | 180000 |  | 180000 | 180000 |  | 120000 | 120000 |  |  |  |  | 320000 | 320000 |  | 300000 | 300000
MEP | 1030401-000 | 10304 | 1 | 03 | 04 | 01 | 000 | CAPEX¦ Construction | MEP | Ventilation | Exhaust fan |  | Supply & Install of Ceiling Mounted Exhaust Fan For Toilet | set | Included | 2 | 168750 | 337500 | 1SS | 150000 | 2 | 150000 | 300000 | -11.11% | 150000 | 300000 |  | 150000 | 300000 |  | 150000 | 300000 | Opple |  |  |  | 160000 | 320000 | EXF (OPPLE, QF-BPT10-34A-12inch-CM-220V/50HZ-U2-GP) | 119000 | 238000 | China
MEP | 1030402-001 | 10304 | 1 | 03 | 04 | 02 | 001 | CAPEX¦ Construction | MEP | Ventilation | Ceiling mounted MV | UPVC hose | Supply & Install of UPVC Hose Pipe For Exhaust Fan | set | Included | 1 | 126562.5 | 126562.5 | 1SS | 112500 | 1 | 112500 | 112500 | -11.11% | 170000 | 170000 |  | 170000 | 170000 |  | 112500 | 112500 | Dia 75mm (Cl 8.5) / Tiger |  |  |  | 220000 | 220000 | Tiger Brand (CL8.5)4" PVC Pipe | 111000 | 111000
MEP | 1030402-002 | 10304 | 1 | 03 | 04 | 02 | 002 | CAPEX¦ Construction | MEP | Ventilation | Ceiling mounted MV | Vent Cowl | Supply & Install of Vent Cowl Exhaust Fan | set | Included | 2 | 126562.5 | 253125 | 1SS | 112500 | 2 | 112500 | 225000 | -11.11% | 200000 | 400000 |  | 200000 | 400000 |  | 112500 | 225000 | Dia 75mm (Cl 8.5) / Tiger |  |  |  | 39000 | 78000 | China Brand | 38000 | 76000
MEP | 1030402-003 | 10304 | 1 | 03 | 04 | 02 | 003 | CAPEX¦ Construction | MEP | Ventilation | Ceiling mounted MV | Flexible duct | Supply & Install of Flexible Duct For Exhaust Fan | set | Included | 1 | 81000 | 81000 | 1SS | 74250 | 1 | 74250 | 74250 | -8.333% | 250000 | 250000 |  | 250000 | 250000 |  | 74250 | 74250 |  |  |  |  | 29000 | 29000 | China Brand | 53000 | 53000
MEP | 1030601-000 | 10306 | 1 | 03 | 06 | 01 | 000 | CAPEX¦ Construction | MEP | Toilet | Bowl |  | Supply & Install of S Trap Toilet Fixture | set | Included | 2 | 877500 | 1755000 | 1SS | 787500 | 2 | 787500 | 1575000 | -10.26% | 1600000 | 3200000 |  | 1600000 | 3200000 |  | 787500 | 1575000 | Cotto |  |  |  | 745000 | 1490000 | Cotto Brand (C1371) | 650000 | 1300000 | KOMEDA/Thailand
MEP | 1030602-000 | 10306 | 1 | 03 | 06 | 02 | 000 | CAPEX¦ Construction | MEP | Toilet | Faucet |  | Supply & Install of Hand Spray | pcs | Included | 2 | 101250 | 202500 | 1SS | 101250 | 2 | 101250 | 202500 | 0% | 160000 | 320000 |  | 160000 | 320000 |  | 101250 | 202500 | Jomoo |  |  |  | 219000 | 438000 | China Brand | 66000 | 132000 | KOMEDA/Thailand
MEP | 1030602-000 | 10306 | 1 | 03 | 06 | 02 | 000 | CAPEX¦ Construction | MEP | Toilet | Faucet |  | Supply & Install of Water Tap | pcs | Included | 1 | 101250 | 101250 | 1SS | 121500 | 1 | 121500 | 121500 | 20% | 515000 | 515000 |  | 515000 | 515000 |  | 121500 | 121500 | Jomoo |  |  |  | 97500 | 97500 | SANWA Brand | 204000 | 204000 | KOMEDA/Thailand
MEP | 1030603-000 | 10306 | 1 | 03 | 06 | 03 | 000 | CAPEX¦ Construction | MEP | Toilet | Lavabo |  | Supply & Install of Wall Mounted Basin | set | Included | 1 | 182250 | 182250 | 1SS | 167250 | 1 | 167250 | 167250 | -8.23% | 545000 | 545000 |  | 545000 | 545000 |  | 167250 | 167250 | Cotto |  |  |  | 243000 | 243000 | Cotto Brand (C013) | 335000 | 335000 | KOMEDA/Thailand
MEP | 1030604-000 | 10306 | 1 | 03 | 06 | 04 | 000 | CAPEX¦ Construction | MEP | Toilet | Mirror |  | Supply & Install of 2' x 4' Mirror | pcs | Included | 1 | 200000 | 200000 | 1SS | 200000 | 1 | 200000 | 200000 | 0% | 250000 | 250000 |  | 250000 | 250000 |  | 200000 | 200000 |  |  |  |  | 720000 | 720000 | China Brand | 188000 | 188000
MEP | 1030699-001 | 10306 | 1 | 03 | 06 | 99 | 001 | CAPEX¦ Construction | MEP | Toilet | Accessories | One-way valve | Supply & Install of Dia 25 One Way Valve | pcs | Included | 1 | 35100 | 35100 | 1SS | 82350 | 1 | 82350 | 82350 | 134.6% | 55000 | 55000 |  | 55000 | 55000 |  | 82350 | 82350 | Jomoo |  |  |  | 73000 | 73000 | Donmark | 55000 | 55000 | KOMEDA/Thailand
MEP | 1030699-001 | 10306 | 1 | 03 | 06 | 99 | 001 | CAPEX¦ Construction | MEP | Toilet | Accessories | One-way valve | Supply & Install of Dia 20 One Way Valve | pcs | Included | 3 | 35100 | 105300 | 1SS | 35100 | 3 | 35100 | 105300 | 0% | 25000 | 295000 |  | 25000 | 295000 |  | 35100 | 105300 | Jomoo |  |  |  | 71000 | 213000 | Donmark | 55000 | 165000 | KOMEDA/Thailand
MEP | 1030699-005 | 10306 | 1 | 03 | 06 | 99 | 005 | CAPEX¦ Construction | MEP | Toilet | Accessories | Floor drain | Supply & Install of Floor Drain + Cover | pcs | Included | 2 | 105300 | 210600 | 1SS | 105300 | 2 | 105300 | 210600 | 0% | 200000 | 400000 |  | 200000 | 400000 |  | 105300 | 210600 | Jomoo |  |  |  | 121000 | 242000 | China Brand | 52500 | 105000 | KOMEDA/Thailand
MEP | 10306- | 10306 | 1 | 03 | 06 |  |  | CAPEX¦ Construction | MEP | Toilet | Accessories | Bottle Trap | Supply & Install of Bottle trap For Basin | pcs | Included | 1 | 93750 | 93750 | 1SS | 105300 | 1 | 105300 | 105300 | 12.32% | 75000 | 75000 |  | 75000 | 75000 |  | 105300 | 105300 | Jomoo |  |  |  | 291000 | 291000 | China Brand | 114000 | 114000 | KOMEDA/Thailand
MEP | 10306- | 10306 | 1 | 03 | 06 |  |  | CAPEX¦ Construction | MEP | Toilet | Accessories | PVC Pipe | Supply & Install of Dia 75 PVC Pipe For Drainage System | m | Included | 5 | 26050 | 130250 | 1SS | 26050 | 6 | 26050 | 156300 | 20% | 16000 | 80000 |  | 16000 | 80000 |  | 26050 | 156300 |  |  |  |  | 49900 | 399200 | TIGER (CL-13.5) | 35000 | 175000 | MPG/ Local
MEP | 10306- | 10306 | 1 | 03 | 06 |  |  | CAPEX¦ Construction | MEP | Toilet | Accessories | PVC Pipe | Supply & Install of Dia 100 PVC Pipe For Drainage System | m | Included | 5 | 36300 | 181500 | 1SS | 36300 | 6 | 36300 | 217800 | 20% | 21000 | 105000 |  | 21000 | 105000 |  | 36300 | 217800 |  |  |  |  | 77500 | 620000 | TIGER (CL-13.5) | 55500 | 277500 | MPG/ Local
MEP | 10306- | 10306 | 1 | 03 | 06 |  |  | CAPEX¦ Construction | MEP | Toilet | Accessories | PVC Pipe | Supply & Install of Dia 25 PVC Pipe For Water Supply System | pcs | Included | 3 | 7548 | 22644 | 1SS | 49350 | 3 | 49350 | 148050 | 553.8% | 44600 | 133800 |  | 44600 | 133800 |  | 49350 | 148050 |  |  |  |  | 14500 | 43500 | LESSO (PN-10) | 36000 | 108000 | MPG/ Local
MEP | 10306- | 10306 | 1 | 03 | 06 |  |  | CAPEX¦ Construction | MEP | Toilet | Accessories | PVC Pipe | Supply & Install of Dia 20 PVC Pipe For Water Supply System | pcs | Included | 4 | 4692 | 18768 | 1SS | 30150 | 4 | 30150 | 120600 | 542.6% | 25600 | 102400 |  | 25600 | 102400 |  | 30150 | 120600 |  |  |  |  | 9500 | 38000 | LESSO (PN-10) | 29500 | 118000 | MPG/ Local
MEP | 10306- | 10306 | 1 | 03 | 06 |  |  | CAPEX¦ Construction | MEP | Toilet | Support Accessories |  | Supply & Install of Support Accessories For P&S System | lot | Included | 1 | 301032 | 301032 | 1SS | 450000 | 1 | 450000 | 450000 | 49.49% | 3000000 | 3000000 |  | 3000000 | 3000000 |  | 450000 | 450000 | Pipe fitting, hanger & support, Gate Valve (pump & main valve) |  |  |  | 690000 | 690000 | Pipe Fitting, Support, OCI & Other Accessores | 700000 | 700000
MEP | 10306- | 10306 | 1 | 03 | 06 |  |  | CAPEX¦ Construction | MEP | Toilet | T&C |  | Testing & Commissioning For P&S System | lot | Included | 1 | 199200 | 199200 | 1SS | 135000 | 1 | 135000 | 135000 | -32.23% | 500000 | 500000 |  | 500000 | 500000 |  | 135000 | 135000 |  |  |  |  | 100000 | 100000 |  | 200000 | 200000
Firefighting | 1079901-000 | 10799 | 1 | 07 | 99 | 01 | 000 | CAPEX¦ Construction | Phòng cháy chữa cháy | Service fee | Management |  | Management, Supervision, Safety and Night Shift work | Lot | Included | 1 | 892460 | 892460 | Gewarzoe | 3000000 | 1 | 3000000 | 3000000 | 236.1% | 2000000 | 2000000 |  | 2000000 | 2000000 |  | 1300000 | 1300000 |  | 0 | 0 |  | 1000000 | 1000000 |  | 3000000 | 3000000
Firefighting | 1079904-000 | 10799 | 1 | 07 | 99 | 04 | 000 | CAPEX¦ Construction | Phòng cháy chữa cháy | Service fee | Transportation fees & scaffoding/ladder |  | Transportation Fee | Lot | Included | 1 | 12528 | 12528 | Gewarzoe | 350000 | 1 | 350000 | 350000 | 2694% | 500000 | 500000 |  | 500000 | 500000 |  | 650000 | 650000 |  | 0 | 0 |  | 0 | 0 |  | 350000 | 350000
Firefighting | 1070102-000 | 10701 | 1 | 07 | 01 | 02 | 000 | CAPEX¦ Construction | Firefighting | Fire exit | Emergency light |  | Supply & Install of Twin Head Emergency Light | set | Included | 8 | 117600 | 940800 | Gewarzoe | 150000 | 8 | 150000 | 1200000 | 27.55% | 130000 | 1040000 |  | 130000 | 1040000 |  | 169000 | 1352000 |  | 0 | 0 |  | 147000 | 1176000 | Precious Light (or) Equivalent | 150000 | 1200000 | China
Firefighting | 1070103-000 | 10701 | 1 | 07 | 01 | 03 | 000 | CAPEX¦ Construction | Firefighting | Fire exit | Exit light |  | Supply & Install of Exit Light | set | Included | 4 | 81600 | 326400 | Gewarzoe | 110000 | 4 | 110000 | 440000 | 34.8% | 70000 | 280000 |  | 70000 | 280000 |  | 117000 | 468000 |  | 0 | 0 |  | 67000 | 268000 | Precious Light (or) Equivalent | 110000 | 440000 | China
Firefighting | 1070105-000 | 10701 | 1 | 07 | 01 | 05 | 000 | CAPEX¦ Construction | Firefighting | Fire exit | Evacuation diagram |  |  | set | Included | 1 | 180000 | 180000 | Gewarzoe | 180000 | 1 | 180000 | 180000 | 0% | 1900000 | 1900000 |  | 1900000 | 1900000 |  | 2639000 | 2639000 |  | 0 | 0 |  | 2150000 | 2150000 | ASENWARE Brand (or) Equivalent (With Battery & 4 Zones) | 180000 | 180000 | Estimate
Firefighting | 1070108-000 | 10701 | 1 | 07 | 01 | 08 | 000 | CAPEX¦ Construction | Firefighting | Fire exit | Alarm control panel |  | Supply & Install of Fire Alarm Control Panel ( Conventional Type ) ( 2 Zones ) | set | Included | 1 | 2030750 | 2030750 | Gewarzoe | 2600000 | 1 | 2600000 | 2600000 | 28.03% | 10600 | 10600 |  | 10600 | 10600 |  | 7150 | 7150 |  | 0 | 0 |  | 13300 | 13300 | RR Brand(2Cx2.5mm2 FR Cable) / (Price Per Meter) | 2600000 | 2600000 | China
Firefighting | 1070109-000 | 10701 | 1 | 07 | 01 | 09 | 000 | CAPEX¦ Construction | Firefighting | Fire exit | Flexible conduit |  | Supply & Install of Flexible Conduit Pipe | lot | Included | 1 | 47125 | 47125 | Gewarzoe | 110000 | 1 | 110000 | 110000 | 133.4% | 342500 | 342500 |  | 342500 | 342500 |  | 299000 | 299000 |  | 0 | 0 |  | 0 | 0 |  | 110000 | 110000 | Wireman Smart/ Malaysia
Firefighting | 1070111-000 | 10701 | 1 | 07 | 01 | 11 | 000 | CAPEX¦ Construction | Firefighting | Fire exit | Inter-floor cable |  | Supply & Install of FR Cable | Meter | Included | 360 | 4520 | 1627200 | Gewarzoe | 13600 | 360 | 13600 | 4896000 | 200.9% | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 13600 | 4896000 | RR/ India or Equivalent (2Cx1.5mm2 FR Cable) meter price
Firefighting | 1070112-100 | 10701 | 1 | 07 | 01 | 12 | 100 | CAPEX¦ Construction | Firefighting | Fire exit | Swing single | Fireproof door 60 min | Supply & Install of Fire Exit Door | set | Included | 1 | 3450000 | 3450000 | Gewarzoe | 1500000 | 1 | 1500000 | 1500000 | -56.52% | 0 | 0 | ALBA Quotation is 20 lakhs | 0 | 0 |  | 0 | 0 | BY C&S | 0 | 0 | BY C&S | 0 | 0 |  | 1500000 | 1500000
Firefighting | 10701- | 10701 | 1 | 07 | 01 |  |  | CAPEX¦ Construction | Firefighting | Fire exit | Battery Backup |  | Supply & Install of 12V 7Ah Battery Backup Brand - . Convoy or Equiv | set | Included | 1 | 122500 | 122500 | Gewarzoe | 210000 | 1 | 210000 | 210000 | 71.43% | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 210000 | 210000
Firefighting | 10701- | 10701 | 1 | 07 | 01 |  |  | CAPEX¦ Construction | Firefighting | Fire exit | Control Breaker |  | Supply & Install of Fire Alarm Control Breaker | set | Included | 1 | 21000 | 21000 | Gewarzoe | 180000 | 1 | 180000 | 180000 | 757.1% | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 180000 | 180000
Firefighting | 10701- | 10701 | 1 | 07 | 01 |  |  | CAPEX¦ Construction | Firefighting | Fire exit | Conduit Pipe |  | Supply & Install of dia 25mm Conduit Pipe | Meter | Included | 360 | 3446 | 1240560 | Gewarzoe | 3446 | 360 | 3446 | 1240560 | 0% | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 3446 | 1240560 | Wireman Smart/ Malaysia
Firefighting | 1070201-000 | 10702 | 1 | 07 | 02 | 01 | 000 | CAPEX¦ Construction | Firefighting | Fire alarm | Alarm bell |  | Supply & Install of Manual Call Point and Alarm Bell | set | Included | 2 | 183000 | 366000 | Gewarzoe | 215000 | 2 | 215000 | 430000 | 17.49% | 303700 | 607400 |  | 303700 | 607400 |  | 318500 | 637000 |  | 0 | 0 |  | 210000 | 420000 | ASENWARE Brand (or) Equivalent | 215000 | 430000 | China
Firefighting | 1070203-000 | 10702 | 1 | 07 | 02 | 03 | 000 | CAPEX¦ Construction | Firefighting | Fire alarm | Smoke detector |  | Supply & Install of Smoke Detector | set | Included | 12 | 91250 | 1095000 | Gewarzoe | 120000 | 12 | 120000 | 1440000 | 31.51% | 137000 | 1644000 |  | 137000 | 1644000 |  | 117000 | 1404000 |  | 0 | 0 |  | 105000 | 1260000 | ASENWARE Brand (or) Equivalent | 120000 | 1440000 | China
Firefighting | 10702- | 10702 | 1 | 07 | 02 |  |  | CAPEX¦ Construction | Firefighting | Fire alarm | T&C |  | T&C For Fire Alarm System | Lot | Included | 1 | 240000 | 240000 | Gewarzoe | 200000 | 1 | 200000 | 200000 | -16.67% | 500000 | 500000 |  | 500000 | 500000 |  | 390000 | 390000 |  | 0 | 0 |  | 300000 | 300000 |  | 200000 | 200000
Firefighting | 1070402-000 | 10704 | 1 | 07 | 04 | 02 | 000 | CAPEX¦ Construction | Firefighting | Water system | Pipe |  | Supply & Install of Dia 50 mm GI Pipe For Fire Fighting System | pcs | Included | 1.7241 | 228000 | 393103.4483 | Gewarzoe | 257000 | 1.7241 | 257000 | 443103.4483 | 12.72% | 253500 | 507000 | Reference from 1SS | 253500 | 437068.9655 | Reference from 1SS | 253500 | 507000 |  | 0 | 0 |  | 265000 | 456896.5517 | SEAH Brand (China) | 257000 | 443103.4483 | China
Firefighting | 10704- | 10704 | 1 | 07 | 04 |  |  | CAPEX¦ Construction | Firefighting | Water system |  |  | Relocation of Existing Hosereel | pcs | Included | 1 | 60000 | 60000 | Gewarzoe | 150000 | 1 | 150000 | 150000 | 150% | 1300000 | 1300000 |  | 1300000 | 1300000 |  | 130000 | 130000 |  | 0 | 0 |  | 120000 | 120000 | Dismantle & Reinstallation Included. Hosereel, Cabinet Existing Use Back. | 150000 | 150000
Firefighting | 10704- | 10704 | 1 | 07 | 04 |  |  | CAPEX¦ Construction | Firefighting | Water system |  |  | T&C Charges For Relocation of Hosereel | lot | Included | 1 | 60000 | 60000 | Gewarzoe | 200000 | 1 | 200000 | 200000 | 233.3% | 300000 | 300000 |  | 300000 | 300000 |  | 715000 | 715000 |  | 0 | 0 |  | 50000 | 50000 | Ø25mm Gate Valve ,Ø25mm Union ,Pipe Fitting, Support ,Painting & Labelling (Material Supply and Install are Exclude) | 200000 | 200000
Firefighting | 1071103-101 | 10711 | 1 | 07 | 11 | 03 | 101 | CAPEX¦ Construction | Firefighting | Firefighting equipment | Extinguisher | ABC Powder | Supply & Install of 3KG ABC Dry Powder Fire Extinguisher | pcs | Included | 4 | 75000 | 300000 | Gewarzoe | 101000 | 4 | 101000 | 404000 | 34.67% | 117000 | 468000 | Reference from 1SS | 117000 | 468000 | Refernce From 1SS | 117000 | 468000 |  | 0 | 0 |  | 135000 | 540000 | Chint Brand | 101000 | 404000 | Chint/ Local
Firefighting | 10721- | 10721 | 1 | 07 | 21 |  |  | CAPEX¦ Construction | Firefighting | Firefighting license |  |  | Supply & Install of Fire Certificate | sqm | Included | 320 | 1076 | 344320 | Gewarzoe | 1100 | 320 | 1100 | 352000 | 2.23% | 10000 | 3200000 |  | 10000 | 3200000 |  | 26000 | 8320000 |  | 0 | 0 |  | 12500 | 4000000 |  | 1100 | 352000
Firefighting | 10721- | 10721 | 1 | 07 | 21 |  |  | CAPEX¦ Construction | Firefighting | Firefighting license |  |  | Departmental Cost For Fire Safety Certificate | lot | Included | 1 | 3800000 | 3800000 | Gewarzoe | 3000000 | 1 | 3000000 | 3000000 | -21.05% | 2000000 | 2000000 |  | 2000000 | 2000000 |  | 520000 | 520000 |  | 0 | 0 |  | 1000000 | 1000000 |  | 3000000 | 3000000
Firefighting | 10721- | 10721 | 1 | 07 | 21 |  |  | CAPEX¦ Construction | Firefighting | Firefighting license |  |  | Supply & Install of Stamp For Fire Layout Plan | Lot | Included | 1 | 1500000 | 1500000 | Gewarzoe | 130000 | 1 | 130000 | 130000 | -91.33% | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 130000 | 130000
Furniture | 1049901-000 | 10499 | 1 | 04 | 99 | 01 | 000 | CAPEX¦ Construction | Furniture | Service fee | Furniture transportation fees |  | Transportation fees | Lot | Included | 1 | 663000 | 663000 | Proplus |  | 1 | [6 empty] | 0 | 0 | [13 empty] | 300000 | 300000 |  |  |  |  | 0 | 0 |  | 0 | 0
Furniture | 10499- | 10499 | 1 | 04 | 99 |  |  | CAPEX¦ Construction | Furniture | Service fee | Management & Supervision fees |  | Management and supervision fees | Lot | Included | 1 | 994500 | 994500 | Proplus | 939600 | 1 | 939600 | 939600 | -5.52% |  |  |  | 0 | 0 | [13 empty] | 500000 | 500000 |  |  |  |  | 939600 | 939600 |  | 0 | 0
Furniture | 1040103-503 | 10401 | 1 | 04 | 01 | 03 | 503 | CAPEX¦ Construction | Furniture | Seat & table | Chair | Student chair: LGS | Supply & installation of Student Chair | pcs | Included | 38 | 350000 | 13300000 | Proplus | 450000 | 38 | 450000 | 17100000 | 28.57% |  |  |  | 420000 | 15960000 | 9 nos from Auston 515 for nation wide center 350000 from smile | [12 empty] | 420000 | 12180000 | 9 nos from Auston 515 for nation wide center |  |  |  | 450000 | 17100000 | " 9 nos from Auston 515 for nation wide center 350000 from smile " | 0 | 0
Furniture | 1040103-504 | 10401 | 1 | 04 | 01 | 03 | 504 | CAPEX¦ Construction | Furniture | Seat & table | Chair | Waiting chair low: LGS | Office chair for visitors IKEA FLINTAN chair or similar (Fixed) | pcs | Included | 4 | 290000 | 1160000 | Procurement | 250000 | 4 | 250000 | 1000000 | -13.79% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 250000 | 1000000 | Sweet Furniture
Furniture | 1040103-504 | 10401 | 1 | 04 | 01 | 03 | 504 | CAPEX¦ Construction | Furniture | Seat & table | Chair | Waiting chair low: LGS | Customize High Chair with blue or gray fabric cushion, metal leg finishing black color Size : W430 x D445 x H660 | pcs | Included | 6 | 198000 | 1188000 | Proplus | 395000 | 6 | 395000 | 2370000 | 99.49% |  |  |  | 656000 | 3936000 | [13 empty] | 350000 | 2100000 |  |  |  |  | 395000 | 2370000 |  | 0 | 0
Furniture | 1040103-502 | 10401 | 1 | 04 | 01 | 03 | 502 | CAPEX¦ Construction | Furniture | Seat & table | Chair | Office chair: LGS | Office chair for Sales staff & Teachers & Visitors IKEA FLINTAN chair or similar | pcs | Included | 11 | 350000 | 3850000 | Procurement | 420000 | 11 | 420000 | 4620000 | 20% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 420000 | 4620000
Furniture | 1040107-501 | 10401 | 1 | 04 | 01 | 07 | 501 | CAPEX¦ Construction | Furniture | Seat & table | Table | Office table: LGS | Supply & installation of SalesTable w/ drawer and cable access hole, 12mm thk MDF for drawer back panel, front cover in white lamnate finish, Size - 1400L x 700W x 750H , See Tender set for Detailed Dwgs | pcs | Included | 2 | 550000 | 1100000 | Proplus | 678000 | 2 | 678000 | 1356000 | 23.27% |  |  |  | 794000 | 1588000 | [13 empty] | 750000 | 1500000 | Supply & installation of SalesTable w/ drawer and cable access hole, 6mm thk backing blockboard for drawer back panel, front cover in blockboard base and white lamnate finish, Size - 1400L x 700W x 750H |  |  |  | 678000 | 1356000 |  | 0 | 0
Furniture | 1040107-504 | 10401 | 1 | 04 | 01 | 07 | 504 | CAPEX¦ Construction | Furniture | Seat & table | Table | Student table long: LGS | Supply & installation of Student Table - 6 Pax 25MM MFC WHITE MELAMINE 106SH FINISH. LIGHT GRAY FINISH 40MM DIAMETER STEEL LEGS. INCLUDE CABLE ACCESS HOLE AND CABLE MANAGEMENT TRAY AT BOTTOM. Size - 2200L x 700W x750W See Tender Set for Detailed Dwgs | pcs | Included | 4 | 715000 | 2860000 | Proplus | 1450000 | 4 | 1450000 | 5800000 | 102.8% |  |  |  | 1311000 | 5244000 | Alba Unit Price 1311000 | [12 empty] | 800000 | 3200000 | Supply & installation of Student Table - 6 Pax 17MM Blockboard and WHITE Laminate FINISH. LIGHT GRAY FINISH 40MM DIAMETER STEEL LEGS. INCLUDE CABLE ACCESS HOLE AND CABLE MANAGEMENT TRAY AT BOTTOM. Size - 2200L x 700W x750H 800000 |  |  |  | 1450000 | 5800000 | Pro PLus Price with cable tray , 1150000+300000 =1450000 | 0 | 0 | Sweet Furniture , without Cable Tray = 900,000 MMK
Furniture | 1040107-505 | 10401 | 1 | 04 | 01 | 07 | 505 | CAPEX¦ Construction | Furniture | Seat & table | Table | Student table short: LGS | Supply & installation of Student Table - 4 Pax 25MM MFC WHITE MELAMINE 106SH FINISH. LIGHT GRAY FINISH 40MM DIAMETER STEEL LEGS. INCLUDE CABLE ACCESS HOLE AND CABLE MANAGEMENT TRAY AT BOTTOM Size - 1500L x 700W x 750H See Tender Set for Detailed Dwgs | pcs | Included | 4 | 495000 | 1980000 | Proplus | 975000 | 4 | 975000 | 3900000 | 96.97% |  |  |  | 949000 | 3796000 | Alba Unit Price 949000 | [12 empty] | 750000 | 3000000 | Supply & installation of Student Table - 4 Pax 17MM Blockboard and WHITE Laminate FINISH. LIGHT GRAY FINISH 40MM DIAMETER STEEL LEGS. INCLUDE CABLE ACCESS HOLE AND CABLE MANAGEMENT TRAY AT BOTTOM. Size - 1500L x 700W x750H 750000 |  |  |  | 975000 | 3900000 | Pro PLus Price with cable tray , 825000+150000 = 975000 | 0 | 0 | Sweet Furniture , without Cable Tray =675,000 MMK
Furniture | 1040107-506 | 10401 | 1 | 04 | 01 | 07 | 506 | CAPEX¦ Construction | Furniture | Seat & table | Table | Teacher table: LGS | Supply & installation of Teacher Table 5mm MFC White Melamine 106SH Finish. Light Gray Finish 40mm Diameter Steel Legs. Include Cable Access Hole and Cable Management Tray at Bottom. Size - 1000Lx600Wx750H See Tender Set for Detailed Dwgs | pcs | Included | 3 | 385000 | 1155000 | Proplus | 625000 | 3 | 625000 | 1875000 | 62.34% |  |  |  | 732000 | 2196000 | Alba Unit Price 732000 | [12 empty] | 620000 | 1860000 | Supply & installation of Teacher Table 17MM Blockboard and WHITE Laminate FINISH. LIGHT GRAY FINISH 40MM DIAMETER STEEL LEGS. INCLUDE CABLE ACCESS HOLE AND CABLE MANAGEMENT TRAY AT BOTTOM. Size - 1000L x 600W x750H 620000 |  |  |  | 625000 | 1875000 | Pro PLus Price without cable tray | 0 | 0 | Sweet Furniture , without Cable Tray = 580,000 MMK
Furniture | 1040107-507 | 10401 | 1 | 04 | 01 | 07 | 507 | CAPEX¦ Construction | Furniture | Seat & table | Table | Waiting table high: LGS | Supply & installation of Reception High Table w/ plywood white laminate finish and black spray painted metal frame with embedded power supply. Size - 2200Lx800Wx950H See Tender Set for Detailed Dwgs | pcs | Included | 1 | 650000 | 650000 | Proplus | 1300000 | 1 | 1300000 | 1300000 | 100% |  |  |  | 1495000 | 1495000 | [13 empty] | 1020000 | 1020000 |  |  |  |  | 1300000 | 1300000 |  | 0 | 0
Furniture | 1040107-508 | 10401 | 1 | 04 | 01 | 07 | 508 | CAPEX¦ Construction | Furniture | Seat & table | Table | Waiting table low: LGS | Supply & installation of Waiting Round Table w/ plywood white laminate finish and black spray painted metal Leg Dia-1200mm See Tender Set for Detailed Dwgs | pcs | Included | 1 | 600000 | 600000 | Proplus | 100000 | 1 | 100000 | 100000 | -83.33% |  |  |  | 468000 | 468000 | [13 empty] | 500000 | 500000 | Supply & installation of Waiting Round Table w/ plywood white laminate finish and black spray painted metal Leg Dia-1000mm for table top |  |  |  | 100000 | 100000 | we will use from 515, 1 lakh for repair charges 400,000 MMK Quote by proplus | 0 | 0
Furniture | 1040203-502 | 10402 | 1 | 04 | 02 | 03 | 502 | CAPEX¦ Construction | Furniture | Storage | Shelf | Full height shelf: LGS | Supply & installation of Document Cabinet MFC MELAMINE FINISH WHITE MS 106SH as per drawing approximate size - 1400mm L x 400mm W x 2700mm H - include shelf inside See Tender Set for Detailed Dwgs | pcs | Included | 1 | 1595000 | 1595000 | Proplus | 2848000 | 1 | 2848000 | 2848000 | 78.56% |  |  |  | 3247000 | 3247000 | [13 empty] | 3500000 | 3500000 | Supply & installation of Document Cabinet 17mm blockboard and white laminate finish approximate size - 1400mm L x 400mm W x 2700mm H - include shelf inside |  |  |  | 2848000 | 2848000 |  | 0 | 0
Furniture | 1040203-502 | 10402 | 1 | 04 | 02 | 03 | 502 | CAPEX¦ Construction | Furniture | Storage | Shelf | Full height shelf: LGS | Supply & installation of Compact janitor rack shelf with steel frame structure + plywood plate Durability and water resistance. Size : W 1200 X D 400 X H 1800, See Tender Set For Detailed Dwgs | pcs | Included | 1 | 700000 | 700000 | Proplus | 1000000 | 1 | 1000000 | 1000000 | 42.86% |  |  |  | 2301000 | 2301000 | [13 empty] | 1000000 | 1000000 |  |  |  |  | 1000000 | 1000000 |  | 0 | 0
Furniture | 1040203-503 | 10402 | 1 | 04 | 02 | 03 | 503 | CAPEX¦ Construction | Furniture | Storage | Shelf | Janitor shelf: LGS | Supply & installation of Metal Rack for storage Size : W 1200 X D 400 | pcs | Included | 1 | 352000 | 352000 | Procurement | 450000 | 1 | 450000 | 450000 | 27.84% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 450000 | 450000
Furniture | 1040907-000 | 10409 | 1 | 04 | 09 | 07 | 000 | CAPEX¦ Construction | Furniture | Accessories | Trash can |  | Supply & installation of 10L Steel Trash Can | pcs | Included | 2 | 90000 | 180000 | Procurement | 90000 | 2 | 90000 | 180000 | 0% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 90000 | 180000
Furniture | 1040907-000 | 10409 | 1 | 04 | 09 | 07 | 000 | CAPEX¦ Construction | Furniture | Accessories | Trash can |  | Supply & installation of 5L Steel Trash Can | pcs | Included | 2 | 70000 | 140000 | Procurement | 90000 | 2 | 90000 | 180000 | 28.57% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 90000 | 180000
Furniture | 1040908-000 | 10409 | 1 | 04 | 09 | 08 | 000 | CAPEX¦ Construction | Furniture | Accessories | Trash bin |  | Supply & installation of trash bin | pcs | Included | 6 | 20000 | 120000 | Procurement | 35000 | 6 | 35000 | 210000 | 75% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 35000 | 210000
Furniture | 1040909-000 | 10409 | 1 | 04 | 09 | 09 | 000 | CAPEX¦ Construction | Furniture | Accessories | Umbrella stand |  | Supply & installation of umbrella stand | pcs | Included | 1 | 200000 | 200000 | Procurement | 300000 | 1 | 300000 | 300000 | 50% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 300000 | 300000
Furniture | 1040910-000 | 10409 | 1 | 04 | 09 | 10 | 000 | CAPEX¦ Construction | Furniture | Accessories | Wall clock |  | Supply & installation of Wall Clock | pcs | Included | 4 | 75000 | 300000 | Procurement | 190000 | 4 | 190000 | 760000 | 153.3% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 190000 | 760000
Furniture | 1040911-000 | 10409 | 1 | 04 | 09 | 11 | 000 | CAPEX¦ Construction | Furniture | Accessories | Whiteboard |  | Supply & installation of white board | pcs | Included | 4 | 120000 | 480000 | Procurement | 200000 | 4 | 200000 | 800000 | 66.67% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 200000 | 800000
Furniture | 10409- | 10409 | 1 | 04 | 09 |  |  | CAPEX¦ Construction | Furniture | Accessories | Water Bottle Stand |  | Supply & installation of Water Bottle Stand | pcs | Included | 2 | 220000 | 440000 | Procurement | 350000 | 2 | 350000 | 700000 | 59.09% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 350000 | 700000
Furniture | 10409- | 10409 | 1 | 04 | 09 |  |  | CAPEX¦ Construction | Furniture | Accessories | Water Cooler |  | Supply & installation of Standard Water Cooler | pcs | Included | 1 | 650000 | 650000 | Procurement | 700000 | 1 | 700000 | 700000 | 7.692% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 700000 | 700000
Furniture | 10409- | 10409 | 1 | 04 | 09 |  |  | CAPEX¦ Construction | Furniture | Accessories | Tissue Holder |  | Supply & installation of Tissue Holder | pcs | Included | 3 | 20000 | 60000 | Procurement | 45000 | 3 | 45000 | 135000 | 125% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 45000 | 135000
Furniture | 10409- | 10409 | 1 | 04 | 09 |  |  | CAPEX¦ Construction | Furniture | Accessories | Soap Dispensor |  | Supply & installation of soap dispenser | pcs | Included | 1 | 50000 | 50000 | Procurement | 100000 | 1 | 100000 | 100000 | 100% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 100000 | 100000
Furniture | 10409- | 10409 | 1 | 04 | 09 |  |  | CAPEX¦ Construction | Furniture | Accessories | Floor Mat |  | Supply & installation of floor mat | pcs | Included | 1 | 40000 | 40000 | Procurement | 90000 | 1 | 90000 | 90000 | 125% |  |  |  | 0 | 0 | [13 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  | 90000 | 90000
MKT | 1059902-000 | 10599 | 1 | 05 | 99 | 02 | 000 | CAPEX¦ Construction | Façade | Service fee | Marketing construction permission |  |  | Lot | Included | 1 | 2000000 | 2000000 | NIX | 2500000 | 1 | 2500000 | 2500000 | 25% | 0 | 0 | [19 empty] | 2500000 | 2500000
MKT | 1059903-000 | 10599 | 1 | 05 | 99 | 03 | 000 | CAPEX¦ Construction | Façade | Service fee | Management |  |  | Lot | Included | 1 | 2000000 | 2000000 | NIX | 1000000 | 1 | 1000000 | 1000000 | -50% | 0 | 0 | [19 empty] | 1000000 | 1000000
MKT | 1059906-000 | 10599 | 1 | 05 | 99 | 06 | 000 | CAPEX¦ Construction | Façade | Service fee | Transportation fees & scaffoding/ladder |  |  | Lot | Included | 1 | 1500000 | 1500000 | NIX | 2500000 | 1 | 2500000 | 2500000 | 66.67% | 0 | 0 | [19 empty] | 2500000 | 2500000
MKT | 1050101-003 | 10501 | 1 | 05 | 01 | 01 | 003 | CAPEX¦ Construction | Façade | Signage | Logo | Lightbox | Supply & installation of LGS logo light box | lot | Included | 1 | 600000 | 600000 | NIX | 750000 | 1 | 750000 | 750000 | 25% | 5529500 | 5529500 | vendor need to check quote | [18 empty] | 750000 | 750000
MKT | 1050101-003 | 10501 | 1 | 05 | 01 | 01 | 003 | CAPEX¦ Construction | Façade | Signage | Logo | Lightbox | Supply & installation of light box with composite background -LGS Logo Size : 762mm x 762mm - include require frame | lot | Included | 1 | 1500000 | 1500000 | NIX | 880000 | 1 | 880000 | 880000 | -41.33% | 1470600 | 1470600 | vendor need to check quote | [18 empty] | 880000 | 880000
MKT | 1050102-001 | 10501 | 1 | 05 | 01 | 02 | 001 | CAPEX¦ Construction | Façade | Signage | Banner graphic board |  | Supply and installation of graphic board with background frame and composite | lot | Included | 1 | 4000000 | 4000000 | NIX | 7000000 | 1 | 7000000 | 7000000 | 75% | 37700 | 37700 | vendor need to check quote | [18 empty] | 7000000 | 7000000
MKT | 1050102-000 | 10501 | 1 | 05 | 01 | 02 | 000 | CAPEX¦ Construction | Façade | Signage | Banner |  | Supply & installation of LGS Banner Size : 6553mm x 2438mm Material : Vinyl | lot | Included | 1 | 1373954.404 | 1373954.404 | NIX | 1420000 | 1 | 1420000 | 1420000 | 3.351% | 5705900 | 5705900 | vendor need to check quote | [18 empty] | 1420000 | 1420000
MKT | 1050102-000 | 10501 | 1 | 05 | 01 | 02 | 000 | CAPEX¦ Construction | Façade | Signage | Banner |  | Supply & installation of LGS Banner Size : 4775mm x 762mm Material : composite | lot | Included | 1 | 312915.3 | 312915.3 | NIX | 331500 | 1 | 331500 | 331500 | 5.939% | 4294200 | 4294200 | vendor need to check quote | [18 empty] | 331500 | 331500
MKT | 1060101-001 | 10601 | 1 | 06 | 01 | 01 | 001 | CAPEX¦ Construction | Decoration | Structural | Décor shape | Wall | Supply & installation of Logiscool Logo Material ; PVC embossed (20mm) - Size - W-1800mm x H-538 mm | pcs | Included | 1 | 550000 | 550000 | NIX | 580000 | 1 | 580000 | 580000 | 5.455% | 411800 | 411800 | [19 empty] | 580000 | 580000
MKT | 1060209-002 | 10602 | 1 | 06 | 02 | 09 | 002 | CAPEX¦ Construction | Decoration | Surface | Sticker | Die-cut frosted | Supply & installation of Striped Wall Sticker | pcs | Included | 4 | 130000 | 520000 | NIX | 250000 | 4 | 250000 | 1000000 | 92.31% | 229500 | 918000 | [19 empty] | 250000 | 1000000
MKT | 10602- | 10602 | 1 | 06 | 02 |  |  | CAPEX¦ Construction | Decoration | Surface | Sticker | UV Sticker | Supply & Installation of UV Stickers to Windows | lot | Included | 3 | 50000 | 150000 | NIX | 100000 | 3 | 100000 | 300000 | 100% | 7700 | 23100 | [19 empty] | 100000 | 300000
MKT | 10602- | 10602 | 1 | 06 | 02 |  |  | CAPEX¦ Construction | Decoration | Surface | Sticker | Die-Cut Sticker | Supply & installation of Speech Bubble Sticker Print Cut - Size - W-1700mm x H-1106mm | lot | Included | 1 | 160000 | 160000 | NIX | 170000 | 1 | 170000 | 170000 | 6.25% | 183600 | 183600 | [19 empty] | 170000 | 170000
MKT | 10602- | 10602 | 1 | 06 | 02 |  |  | CAPEX¦ Construction | Decoration | Surface | Sticker | Die-Cut Sticker | Supply & installation of Rubik Wall icon Sticker (2 Designs) with Die-Cut Sticker Printing - Size - W-1984mm x W-914.4mm | lot | Included | 1 | 1260000 | 1260000 | NIX | 320000 | 1 | 320000 | 320000 | -74.6% | 153000 | 153000 | [19 empty] | 320000 | 320000
MKT | 10602- | 10602 | 1 | 06 | 02 |  |  | CAPEX¦ Construction | Decoration | Surface | Sticker | Die-Cut Sticker | Supply & installation of Rocket Wall Sticker with Die-Cut Sticker Printing - Size - W-2040mm x H-1885mm | lot | Included | 1 | 320000 | 320000 | NIX | 348500 | 1 | 348500 | 348500 | 8.906% | 329500 | 329500 | [19 empty] | 348500 | 348500
MKT | 10602- | 10602 | 1 | 06 | 02 |  |  | CAPEX¦ Construction | Decoration | Surface | Sticker | Die-Cut Sticker | Supply & installation of Desktop Wall Sticker with Die-Cut Sticker Printing - Size - W-1630mm x H-1420mm | lot | Included | 1 | 187500 | 187500 | NIX | 204000 | 1 | 204000 | 204000 | 8.8% | 188300 | 188300 | [19 empty] | 204000 | 204000
MKT | 10602- | 10602 | 1 | 06 | 02 |  |  | CAPEX¦ Construction | Decoration | Surface | Sticker | Die-Cut Sticker | Supply & installation of Balloon Wall Sticker - Size - W-1225mm x H-1778mm | lot | Included | 1 | 285000 | 285000 | NIX | 195500 | 1 | 195500 | 195500 | -31.4% | 183600 | 183600 | [19 empty] | 195500 | 195500
MKT | 10602- | 10602 | 1 | 06 | 02 |  |  | CAPEX¦ Construction | Decoration | Surface | Sticker | Die-Cut Sticker | Supply & installation of Logi Robi Wall Sticker - Size - W-1311mm x H-1786mm | lot | Included | 1 | 189000 | 189000 | NIX | 212500 | 1 | 212500 | 212500 | 12.43% | 188300 | 188300 | [19 empty] | 212500 | 212500
MKT | 10602- | 10602 | 1 | 06 | 02 |  |  | CAPEX¦ Construction | Decoration | Surface | Sticker | Die-Cut Sticker | Supply & installation of Laptop Wallsticker - Size - W-1670mm x H-1270mm | lot | Included | 1 | 172500 | 172500 | NIX | 195000 | 1 | 195000 | 195000 | 13.04% | 170600 | 170600 | [19 empty] | 195000 | 195000
MKT | 10602- | 10602 | 1 | 06 | 02 |  |  | CAPEX¦ Construction | Decoration | Surface | Sticker | Die-Cut Sticker | Supply & installation of 5 Picto Wall Sticker - Size - W-4390mm x H-1096mm | lot | Included | 1 | 390000 | 390000 | NIX | 440000 | 1 | 440000 | 440000 | 12.82% | 388300 | 388300 | [19 empty] | 440000 | 440000
MKT | 10602- | 10602 | 1 | 06 | 02 |  |  | CAPEX¦ Construction | Decoration | Surface | Sticker | Die-Cut Sticker | Supply & installation of Desktop Wallsticker - Size - W-1630mm x H-1420mm | lot | Included | 1 | 187500 | 187500 | NIX | 211000 | 1 | 211000 | 211000 | 12.53% | 188300 | 188300 | [19 empty] | 211000 | 211000
IT | 1080101-000 | 10801 | 1 | 08 | 01 | 01 | 000 | CAPEX¦ Construction | IT | IT server room | Firewall |  | Fortigate 40F | pcs | Included | 1 |  | 3605000 | BIM Rev 1 | 1655500 | 1 | 1655500 | 1655500 | -54.08% | [30 empty] | 3887200 | 3887200 | Fortigate 40F 5 x GE RJ45 ports (including , 1 x WAN Port, 4 x Internal Ports) 1 Subsequent Yearly License ONE(1) Year- Unified Threat Protection (UTP) (IPS, Advanced Malware Protection, Application Control, URL, DNS & Video Filtering, Antispam Service | 3530300 | 3530300 | FG-40F FortiGate 5 x GE RJ45 ports (including , 1 x WAN Port, 4 x Internal Ports) | 1655500 | 1655500 | RG-EG710XS Ruijie 10-Port Multi-Gigabit Cloud Managed Router with 4 x 2.5G Ports and 2 x SFP+ Ports Warranty_3 Years , Lead Time_1 to 2 Months. | 0 | 0
IT | 1080102-000 | 10801 | 1 | 08 | 01 | 02 | 000 | CAPEX¦ Construction | IT | IT server room | UPS |  | Prolink PRO801ES - 1800W | pcs | Included | 1 |  | 3055000 | BIM Rev 1 | 1204000 | 1 | 1204000 | 1204000 | -60.59% | [30 empty] | 1298600 | 1298600 | Prolink PRO801ES - 1800W '2200VA UPS Lead Time - Instock | 5043900 | 5043900 | Prolink PRO801ES - 1800W BIM Replacement Model _SRV2KI Warranty_3 Years , Lead Time_Instock. | 1204000 | 1204000 | Prolink PRO801ES - 1800W BIM Replacement Model _SRV2KI APC Easy UPS SRV 2000VA 230V Warranty_3 Years , Lead Time_Instock. | 0 | 0
IT | 1080103-000 | 10801 | 1 | 08 | 01 | 03 | 000 | CAPEX¦ Construction | IT | IT server room | Rack cabinet |  | Rack Cabinet 12U | pcs | Included | 1 |  | 1370000 | BIM Rev 1 | 1474900 | 1 | 1474900 | 1474900 | 7.657% | [30 empty] | 1474900 | 1474900 | Rack Cabinet 12U 12U ( 600 x 600 ) Cabinet Lead Time - Instock | 1474900 | 1474900 | 12U Server Cabinet, (600 x 670 x 600)mm, Wall Cabinet Lead Time_Instock | 1474900 | 1474900 | 12U Server Cabinet, (600 x 670 x 600)mm, Wall Cabinet Lead Time_Instock | 0 | 0
IT | 1080104-000 | 10801 | 1 | 08 | 01 | 04 | 000 | CAPEX¦ Construction | IT | IT server room | PoE switch |  | Cisco/C1000-16P-4G-L | pcs | Included | 1 |  | 3410000 | Vietnam |  | 0 | [33 empty] | 3822700 | 0 | Cisco/C1000-16P-4G-L Catalyst 1300 16-port GE, PoE, 2x1G SFP SHIP NEXT BUS DAYCatalyst 1300 16port GE PoE 2x1G SFP AC Power Cord (UK), C13, BS 1363, 2.5m Lead Time - 4months | 6794000 | 0 | Cisco/C1000-16P-4G-L BIM Replacement_C1300-16FP-2G Cisco Catalyst 1300 16-port GE, Full PoE, 2x1G SFP + CON-SNBD-C130FPG6 Cisco SHIP NEXT BUS DAYCatalyst 1300 16port GE Full PoE 2x1G (SNT 1 Yr) Lead Time_Instock (Subject to prior sales) | 5921100 | 0 | Cisco/C1000-16P-4G-L BIM Replacement_C1300-16FP-2G Cisco Catalyst 1300 16-port GE, Full PoE, 2x1G SFP CON-SNBD-C130FPG6 Cisco SHIP NEXT BUS DAYCatalyst 1300 16port GE Full PoE 2x1G (SNT 1 Yr) Lead Time_Instock (Subject to prior sales) | 0 | 0
IT | 1080105-000 | 10801 | 1 | 08 | 01 | 05 | 000 | CAPEX¦ Construction | IT | IT server room | Power Distribution Unit (PDU) |  | Legrand/8 Way 1U | pcs | Included | 1 |  | 200000 | BIM Rev 1 | 86000 | 1 | 86000 | 86000 | -57% | [30 empty] | 197800 | 197800 | Legrand/8 Way 1U 8 ways PDU 1U Lead Time - Instock | 86000 | 86000 | Lead Time_Instock | 86000 | 86000 | 8 Way 1U Lead Time_Instock | 0 | 0
IT | 10801- | 10801 | 1 | 08 | 01 |  |  | CAPEX¦ Construction | IT | IT server room | Horizotal Cable manager |  | LS / LS-HCM-1U |  | Included | 1 |  | 105000 | BIM Rev 1 | 38700 | 1 | 38700 | 38700 | -63.14% | [30 empty] | 172000 | 172000 | LS / LS-HCM-1U 1U Horizontal Cable Manager Lead Time - Instock | 38700 | 38700 | Lead Time_Instock | 38700 | 38700 | Horizontal Cable Manager 1U Lead Time_Instock | 0 | 0
IT | 1080201-000 | 10802 | 1 | 08 | 02 | 01 | 000 | CAPEX¦ Construction | IT | IT infrastructure | Wireless Access Point |  | Grandstream/ GWN 7615 + PoE Adapter | pcs | Included | 2 |  | 2000000 | BIM Rev 1 | 688000 | 2 | 1376000 | 1376000 | -31.2% | [30 empty] | 967500 | 1935000 | Grandstream/ GWN 7615 + PoE Adapter Grandstream/ GWN 7615 Access Point + PoE Adapter Warranty - 1Year Lead Time - Instock | 1234100 | 2468200 | Grandstream/ GWN 7615 + PoE Adapter BIM Replacement_GWN7602 Grandstream Dual-band Wi-Fi 5 (802.11ac) wireless access point ( Without POE adapter) + U-POE+ Grandstream 802.3at supported 30W POE Injector | 688000 | 1376000 | RG-RAP62 Ruijie Wi-Fi 6 AX1800 Dual-band ceiling access point; Gigabit LAN uplink ports, 2.4GHz/5GHz dual-band, built-in antennas, 802.11ax, 802.11ac wave2/wave1, up to 1774Mbps access rate per AP; support AP and routing mode, Layer 3 roaming, Unified networking and management via Ruijie Cloud and Ruijie Reyee App; Support PoE and local power supply (PoE module and DC adapter are sold separately) Warranty_3 Years , Lead Time_Instock (Subject to prior sales). | 0 | 0
IT | 1080202-001 | 10802 | 1 | 08 | 02 | 02 | 001 | CAPEX¦ Construction | IT | IT infrastructure | CCTV | Outdoor with audio |  | pcs | Included | 6 |  | 0 | BIM Rev 1 | 0 | 6 | 0 | 0 | [31 empty] | 0 | 0 | Estimate | 0 | 0 | Estimate | 0 | 0 |  | 0 | 0
IT | 1080202-003 | 10802 | 1 | 08 | 02 | 02 | 003 | CAPEX¦ Construction | IT | IT infrastructure | CCTV | Indoor with audio | HDBW2431FP-AS-S2 | pcs | Included | 6 |  | 1875000 | BIM Rev 1 | 567600 | 6 | 3405600 | 3405600 | 81.63% | [30 empty] | 567600 | 3405600 | HDBW2431FP-AS-S2 DH-IPC-HDBW3441EP-S-0280B-S2 | 567600 | 3405600 | HDBW2431FP-AS-S2 BIM Replacement Model _ DH-IPC-HDBW3441EP-S-0280B-S2 Warranty_2 Years , Lead Time_Instock. | 567600 | 3405600 | HDBW2431FP-AS-S2 BIM Replacement Model _ DH-IPC-HDBW3441EP-S-0280B-S2 Warranty_2 Years , Lead Time_Instock. | 0 | 0
IT | 1080202-004 | 10802 | 1 | 08 | 02 | 02 | 004 | CAPEX¦ Construction | IT | IT infrastructure | CCTV | Indoor without audio | DH-IPC-HDW1430T-S5 | pcs | Included | 4 |  | 1250000 | BIM Rev 1 | 369800 | 4 | 1479200 | 1479200 | 18.34% | [30 empty] | 567600 | 2270400 | DH-IPC-HDW1430T-S5 DH-IPC-HDW3441EMP-S-0280B-S2 | 369800 | 1479200 | DH-IPC-HDW1430T-S5 BIM Replacement Model _ IPC-HDW1431T1-A-S4 Warranty_2 Years , Lead Time_Instock. | 369800 | 1479200 | DH-IPC-HDW1430T-S5 BIM Replacement Model _ IPC-HDW1431T1-A-S4 Warranty_2 Years , Lead Time_Instock. | 0 | 0
IT | 1080202-005 | 10802 | 1 | 08 | 02 | 02 | 005 | CAPEX¦ Construction | IT | IT infrastructure | CCTV | Camera switch | DH-PFS4226-24ET-240 | pcs | Included | 1 |  | 1620000 | BIM Rev 1 | 1281400 | 1 | 1281400 | 1281400 | -20.9% | [30 empty] | 1281400 | 1281400 | Reference from BIM | 1281400 | 1281400 | DH-PFS4226-24ET-240 BIM Replacement Model _ CS4226-24ET-240 Warranty_2 Years , Lead Time_Instock. | 1281400 | 1281400 | DH-PFS4226-24ET-240 BIM Replacement Model _ CS4226-24ET-240 Warranty_2 Years , Lead Time_Instock. | 0 | 0
IT | 1081101-102 | 10811 | 1 | 08 | 11 | 01 | 102 | CAPEX¦ Construction | IT | IT equipment | Television | Regular 42" | Samsung LH43BEFHVGKXXT 43in | pcs | Included | 1 |  | 1850000 | Procurement | 1850000 | 1 | 1850000 | 1850000 | 0% | [30 empty] | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 1850000 | 1850000
IT | 1081101-104 | 10811 | 1 | 08 | 11 | 01 | 104 | CAPEX¦ Construction | IT | IT equipment | Television | Regular 55" | Samsung LED TV UA55CU7000KXMR (55in, UHD, 4K, Smart) | pcs | Included | 2 |  | 6675900 | Procurement | 3337950 | 2 | 6675900 | 6675900 | 0% | [30 empty] | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 3337950 | 6675900
IT | 1081103-101 | 10811 | 1 | 08 | 11 | 03 | 101 | CAPEX¦ Construction | IT | IT equipment | Printer | Laser printer | Canon Mono Laser Printer Model LBP-122 dw (c/w Cartridge 071) | pcs | Included | 1 |  | 1234800 | Procurement | 1476000 | 1 | 1476000 | 1476000 | 19.53% | [30 empty] | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 1476000 | 1476000 | Canon Inkjet All in One Printer Model G 3780 320 USD
IT | 1081106-001 | 10811 | 1 | 08 | 11 | 06 | 001 | CAPEX¦ Construction | IT | IT equipment | Laptop | L-I10 | Dell 14 DC14250 Core I3 100U, 1x 8GB DDR5, 512GB NVMe SSD | pcs | Included | 12 |  | 28800000 | Procurement | 2400000 | 12 | 28800000 | 28800000 | 0% | [30 empty] | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 2400000 | 28800000 | ASIA Procurement (Laptop)
IT | 1081199-001 | 10811 | 1 | 08 | 11 | 99 | 001 | CAPEX¦ Construction | IT | IT equipment | Accessories | Network cable | Copper Patch Cord (3m) | pcs | Included | 18 |  | 720000 | Vietnam | [35 empty] | 21500 | 0 | Copper Patch Cord (3m) Merry Mesh 3M UTP Patch Cord Lead Time - Instock | 21500 | 0 | Copper Patch Cord (3m) Lead Time_Instock | 21500 | 0 | Lead Time_Instock | 0 | 0
IT | 1081199-002 | 10811 | 1 | 08 | 11 | 99 | 002 | CAPEX¦ Construction | IT | IT equipment | Accessories | Hard disk drive (HDD) | WD 6TB HDD | pcs | Included | 1 |  | 1415000 | BIM Rev 1 | 1599600 | 1 | 1599600 | 1599600 | 13.05% | [30 empty] | 2287600 | 2287600 | 8TB HDD for Recording | 1599600 | 1599600 | WD 6TB HDD Warranty_1 Year , Lead Time_Instock. | 1599600 | 1599600 | WD 6TB HDD Warranty_1 Year , Lead Time_Instock. | 0 | 0
IT | 1081199-003 | 10811 | 1 | 08 | 11 | 99 | 003 | CAPEX¦ Construction | IT | IT equipment | Accessories | Network port | LS | pcs | Included | 18 |  | 2160000 | BIM Rev 1 | 47300 | 15 | 709500 | 709500 | -67.15% | [30 empty] | 34400 | 516000 | LS, commscope Female Jack & Faceplate Commscoe Mod Jack,Cat6,RJ45,SL,Unshi,T568A/B,Alm Commscoep Faceplate Kit,B.S. Style,Shutter,2P,Icon | 47300 | 709500 | Single Data Socket Outlet Female Jack with Basecup Lead Time_Instock | 47300 | 709500 | Single Data Socket Outlet Female Jack with Basecup Lead Time_Instock | 0 | 0
IT | 1081199-004 | 10811 | 1 | 08 | 11 | 99 | 004 | CAPEX¦ Construction | IT | IT equipment | Accessories | Network video recorder (NVR) | NVR5464-EI | pcs | Included | 1 |  | 2795000 | BIM Rev 1 | 1109400 | 1 | 1109400 | 1109400 | -60.31% | [30 empty] | 3921600 | 3921600 | NVR5464-EI NVR5464-EI64 Channel 1.5U 4HDDs 4K & H.265 Pro Network Video Recorder | 2829400 | 2829400 | NVR5464-EI BIM Replacement Model _ NVR5232-EI Warranty_2 Years , Lead Time_Instock. | 1109400 | 1109400 | NVR5464-EI BIM Replacement Model _ NVR4216-4KS3 16CH 1U 2HDDs Lite Network Video Recorder Warranty_2 Years , Lead Time_Instock. | 0 | 0
IT | 1081199-005 | 10811 | 1 | 08 | 11 | 99 | 005 | CAPEX¦ Construction | IT | IT equipment | Accessories | Plug boot | Link | pcs | Included | 34 |  | 119000 | BIM Rev 1 | 4300 | 32 | 137600 | 137600 | 15.63% | [30 empty] | 8600 | 292400 | Link Rj45 & Rubber Boot | 4106500 | 4106500 | - Cat 6 Plug with Boot Cup ( 34 USD ) - Commscope Cat 6 Cable ( 430 USD ) - 4"x4" Join Box ( 33 USD ) - PVC Pipe,PVC Trunking with Accessories ( 458 USD) 50mm x 25mm PVC Trunking 25mm PVC Pipe 25mm PVC Socket 25mm PVC Saddle 25mm PVC 2way Join Box 25mm PVC 4way Join Box Lead Time_Instock | 4300 | 137600 | - Cat 6 Plug with Boot Cup ( 32 USD ) | 0 | 0
IT | 1081199-007 | 10811 | 1 | 08 | 11 | 99 | 007 | CAPEX¦ Construction | IT | IT equipment | Accessories | HDMI Cable | Any Brand | pcs | Included | 2 |  | 80000 | Procurement | 70000 | 2 | 140000 | 140000 | 75% | [30 empty] | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 70000 | 140000 | ASIA Procurement 'HDMI To HDMI Cable 10M China
IT | 10811100-001 | 10811 | 1 | 08 | 11 | 100 | 001 | CAPEX¦ Construction | IT | IT equipment | Labor | Piping & trunking Work | Trunking and Piping Work | lot | Included | 1 |  | 2000000 | BIM Rev 1 | 630000 | 1 | 630000 | 630000 | -68.5% | [30 empty] | 2967000 | 2967000 | Including Material Cost , Pipe and accessories, 1 Lot 600 USD | 630000 | 630000 |  | 630000 | 630000 |  | 0 | 0
IT | 10811100-003 | 10811 | 1 | 08 | 11 | 100 | 003 | CAPEX¦ Construction | IT | IT equipment | Labor | Hacking & Drilling | Hacking & Drilling | lot | Included | 1 |  | 200000 | BIM Rev 1 | 30000 | 1 | 30000 | 30000 | -85% | [30 empty] | 387000 | 387000 |  | 30000 | 30000 |  | 30000 | 30000 |  | 0 | 0
IT | 10811100-004 | 10811 | 1 | 08 | 11 | 100 | 004 | CAPEX¦ Construction | IT | IT equipment | Labor | CCTV Installation and Configuration | CCTV Installation and Configuration | lot | Included | 11 |  | 275000 | BIM Rev 1 | 22000 | 10 | 220000 | 220000 | -20% | [30 empty] | 86000 | 860000 |  | 22000 | 220000 |  | 22000 | 220000 |  | 0 | 0
IT | 10811100-005 | 10811 | 1 | 08 | 11 | 100 | 005 | CAPEX¦ Construction | IT | IT equipment | Labor | APs Installation | APs Installation | lot | Included | 3 |  | 60000 | BIM Rev 1 | 22000 | 2 | 44000 | 44000 | -26.67% | [30 empty] | 60200 | 120400 |  | 22000 | 44000 |  | 22000 | 44000 |  | 0 | 0
IT | 10811100-006 | 10811 | 1 | 08 | 11 | 100 | 006 | CAPEX¦ Construction | IT | IT equipment | Labor | TVs Installation | TVs Installation | lot | Included | 3 |  | 90000 | BIM Rev 1 | 33000 | 3 | 99000 | 99000 | 10% | [30 empty] | 60200 | 180600 |  | 33000 | 99000 |  | 33000 | 99000 |  | 0 | 0
IT | 10811100-008 | 10811 | 1 | 08 | 11 | 100 | 008 | CAPEX¦ Construction | IT | IT equipment | Labor | Installation for Rack, UPS and PDU | Installation for Rack, UPS and PDU | lot | Included | 1 |  | 150000 | BIM Rev 1 | 100000 | 1 | 100000 | 100000 | -33.33% | [30 empty] | 129000 | 129000 |  | 100000 | 100000 |  | 100000 | 100000 |  | 0 | 0
IT | 10811100-009 | 10811 | 1 | 08 | 11 | 100 | 009 | CAPEX¦ Construction | IT | IT equipment | Labor | Cable Test Report | Cable Test Report | lot | Included | 1 |  | 80000 | BIM Rev 1 | 230000 | 1 | 230000 | 230000 | 187.5% | [30 empty] | 129000 | 129000 |  | 230000 | 230000 |  | 230000 | 230000 |  | 0 | 0
IT | 10811- | 10811 | 1 | 08 | 11 |  |  | CAPEX¦ Construction | IT | IT equipment | Accessories | TV Bracket Mobile Stand | NB TV Bracket AVA-1800-701P (55in to 80in) | pcs | Included | 2 |  | 1400000 | Procurement | 786000 | 2 | 1572000 | 1572000 | 12.29% | [30 empty] | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 786000 | 1572000 | ASIA Procurement (Wai Yan Electronics)
IT | 10811- | 10811 | 1 | 08 | 11 |  |  | CAPEX¦ Construction | IT | IT equipment | Labor | Network Cabling and Termination | Network Cabling /Labeling and Termination | pcs | Included | 18 |  | 270000 | BIM Rev 1 | 37000 | 15 | 555000 | 555000 | 105.6% | [30 empty] | 86000 | 1290000 |  | 37000 | 555000 |  | 37000 | 555000 |  | 0 | 0
TOTAL SELECTED AMOUNT